## Spare Parts
Tag Number | Item No. | Description | Drawing/Ref. No. | Real Part No. | Material | Qty per Unit | Total Units Installed
150-00-PU-001 | 1 | Casing Wearings | SJEC-DGNRCU-ENMA-DWEQ-0001 | 21-502-385.01 | ASTM A487 CA6NM | 1 | 2
150-00-PU-001 | 2 | Paper Gasket | SJEC-DGNRCU-ENMA-DWEQ-0001 | 21-400-030.02 | Fiber | 2 | 2
150-00-PU-001 | 3 | Impeller Wearings | SJEC-DGNRCU-ENMA-DWEQ-0001 | 21-502-288.01 | ASTM A487 CA6NM | 1 | 2
150-00-PU-001 | 4 | Impeller | SJEC-DGNRCU-ENMA-DWEQ-0001 | 21-230-233.01 | ASTM A487 CA6NM | 1 | 2
150-00-PU-001 | 5 | Shaft Sleeve | - | 21-220-602.01 | ASTM A487 CA6NM | 1 | 2
150-00-PU-001 | 6 | Shaft | SJEC-DGNRCU-ENMA-DWEQ-0001 | 21-210-181.01 | ASTM A276 Type 420 | 1 | 2
150-00-PU-001 | 7 | Paper Gasket | SJEC-DGNRCU-ENMA-DWEQ-0001 | 21-400-033.01 | NBR | 1 | 2
150-00-PU-001 | 8 | Mechanical Seal Assembly | - | 21-433-754.03 | Multi Material | 1 | 2
150-00-PU-001 | 9 | Mechanical Seal Component | - | 22-433-040.10 | STD | 1 | 2
150-00-PU-001 | 10 | Cylindrical roller bearing | SJEC-DGNRCU-ENMA-DWEQ-0001 | 22-325-310.00 | STD | 1 | 2
150-00-PU-001 | 11 | Angular contact ball bearings-single row | SJEC-DGNRCU-ENMA-DWEQ-0001 | 22-322-310.00 | STD | 2 | 2
150-00-PU-001 | 12 | Casing Wearings | SJEC-DGNRCU-ENMA-DWEQ-0001 | 21-502-369.01 | ASTM A487 CA6NM | 1 | 2
150-00-PU-001 | 13 | Impeller Wearings | SJEC-DGNRCU-ENMA-DWEQ-0001 | 21-502-312.02 | ASTM A487 CA6NM | 1 | 2
150-00-PU-001 | 14 | Bearings of Motors,N side | SJEC-DGNRCU-ENMA-DSEQ-0002 | 22-320-206.00 | STD | 1 | 2
150-00-PU-001 | 15 | Bearings of Motors,D side | SJEC-DGNRCU-ENMA-DSEQ-0002 | 22-320-208.00 | STD | 1 | 2
150-00-PU-001 | 16 | Oil Seal Ring for Motors | - | - | - | 1 | 2
150-00-PU-001 | 17 | Fan for Motor | - | - | - | 1 | 2
150-00-PU-001 | 18 | Spiral Wound Gasket | SJEC-DGNRCU-ENMA-DWEQ-0001 | 22-416-131.01 | SS 316 | 2 | 2
150-00-PU-001 | 19 | Spiral Wound Gasket | SJEC-DGNRCU-ENMA-DWEQ-0001 | 22-416-113.02 | SS 316 | 1 | 2
150-00-PU-001 | 20 | Spiral Wound Gasket | SJEC-DGNRCU-ENMA-DWEQ-0001 | 22-416-131.02 | SS 316 | 2 | 2
150-00-PU-002 | 1 | Impeller | SJEC-DGNRCU-ENMA-DWEQ-0003 | 21-230-202.01 | ASTM A487 Gr CA6NM | 1 | 4
150-00-PU-002 | 2 | Cylindrical roller bearing | SJEC-DGNRCU-ENMA-DWEQ-0003 | 22-325-308.00 | STD | 1 | 4
150-00-PU-002 | 3 | Shaft Sleeve | - | 21-220-602.01 | ASTM A487 Gr CA6NM | 1 | 4
150-00-PU-002 | 4 | Shaft | SJEC-DGNRCU-ENMA-DWEQ-0003 | 21-210-182.02 | A276 Type420 | 1 | 4
150-00-PU-002 | 5 | Angular contact ball bearing | SJEC-DGNRCU-ENMA-DWEQ-0003 | 22-322-308.00 | STD | 2 | 4
150-00-PU-002 | 6 | Impeller Wearings | SJEC-DGNRCU-ENMA-DWEQ-0003 | 21-502-312.01 | ASTM A487 Gr CA6NM | 1 | 4
150-00-PU-002 | 7 | Impeller Wearings | SJEC-DGNRCU-ENMA-DWEQ-0003 | 21-502-163.01 | ASTM A487 Gr CA6NM | 1 | 4
150-00-PU-002 | 8 | Casing Wearings | SJEC-DGNRCU-ENMA-DWEQ-0003 | 21-502-366.01 | ASTM A487 Gr CA6NM | 1 | 4
150-00-PU-002 | 9 | Casing Wearings | SJEC-DGNRCU-ENMA-DWEQ-0003 | 21-502-222.02 | ASTM A487 Gr CA6NM | 1 | 4
150-00-PU-002 | 10 | Paper Gasket | SJEC-DGNRCU-ENMA-DWEQ-0003 | 21-400-042.01 | STD | 1 | 4
150-00-PU-002 | 11 | Paper Gasket | SJEC-DGNRCU-ENMA-DWEQ-0003 | 21-400-039.02 | STD | 1 | 4
150-00-PU-002 | 12 | Mechanical Seal Component | - | 22-433-040.10 | Multi Material | 1 | 4
150-00-PU-002 | 13 | Mechanical Seal Assembly | - | 21-433-754.03 | STD | 1 | 4
150-00-PU-002 | 14 | Bearings of Motors,D side | SJEC-DGNRCU-ENMA-DSEQ-0002 | 22-320-208.00 | STD | 1 | 4
150-00-PU-002 | 15 | Bearings of Motors,N side | SJEC-DGNRCU-ENMA-DSEQ-0002 | 22-320-206.00 | STD | 1 | 4
150-00-PU-002 | 16 | Fan for Motor | - | - | - | 1 | 4
150-00-PU-002 | 17 | Oil Seal Ring for Motors | - | - | - | 1 | 4
150-00-PU-002 | 18 | Spiral wound Gasket | SJEC-DGNRCU-ENMA-DWEQ-0003 | 22-416-131.02 | SS 316 | 2 | 4
150-00-PU-002 | 19 | Spiral wound Gasket | SJEC-DGNRCU-ENMA-DWEQ-0003 | 22-416-131.01 | SS 316 | 2 | 4
150-00-PU-002 | 20 | Spiral wound Gasket | SJEC-DGNRCU-ENMA-DWEQ-0003 | 22-416-110.01 | Fiber | 1 | 4
150-00-PU-003 | 1 | Impeller | SJEC-DGNRCU-ENMA-DWEQ-0011 | 21-230-146.01 | C95800 | 1 | 4
150-00-PU-003 | 2 | Shaft Sleeve | - | 21-220-702.01 | C95800 | 1 | 4
150-00-PU-003 | 3 | Deep groove ball bearing | SJEC-DGNRCU-ENMA-DWEQ-0011 | 21-320-308.00 | STD | 3 | 4
150-00-PU-003 | 4 | Shaft | SJEC-DGNRCU-ENMA-DWEQ-0011 | 21-210-002.01 | A576 Gr 1045 | 1 | 4
150-00-PU-003 | 5 | Impeller Wearings | SJEC-DGNRCU-ENMA-DWEQ-0011 | 21-502-348.01 | C95800 | 1 | 4
150-00-PU-003 | 6 | Casing Wearings | SJEC-DGNRCU-ENMA-DWEQ-0011 | 21-502-421.01 | C95800 | 1 | 4
150-00-PU-003 | 7 | Paper Gasket | SJEC-DGNRCU-ENMA-DWEQ-0011 | 22-400-616.01 | Fiber | 1 | 4
150-00-PU-003 | 8 | Paper Gasket | SJEC-DGNRCU-ENMA-DWEQ-0011 | 22-400-618.01 | Fiber | 1 | 4
150-00-PU-003 | 9 | Mechanical Seal Component | - | 22-433-043.01 | Multi Material | 1 | 4
150-00-PU-003 | 10 | Mechanical Seal Assembly | - | 21-433-753.02 | STD | 1 | 4
150-00-PU-003 | 11 | Bearings of Motors,D side | SJEC-DGNRCU-ENMA-DSEQ-0002 | 22-320-208.00 | STD | 1 | 4
150-00-PU-003 | 12 | Bearings of Motors,N side | SJEC-DGNRCU-ENMA-DSEQ-0002 | 22-320-306.00 | STD | 1 | 4
150-00-PU-003 | 13 | Fan for Motor | - | - | - | 1 | 4
150-00-PU-003 | 14 | Oil Seal Ring for Motors | - | - | - | 1 | 4
150-00-PU-005 A | 1 | Impeller | SJEC-DGNRCU-ENMA-DWEQ-0008 | 21-230-993.01 | ASTM A48 Class 25B | 5 | 4
150-00-PU-005 A | 2 | Shaft Sleeve | SJEC-DGNRCU-ENMA-DWEQ-0008 | 21-220-225.04 | A276 Type 420 | 1 | 4
150-00-PU-005 A | 3 | Shaft | SJEC-DGNRCU-ENMA-DWEQ-0008 | 21-210-927.08 | ASTM A576 Gr 1045 | 1 | 4
150-00-PU-005 A | 4 | Impeller Wearings | SJEC-DGNRCU-ENMA-DWEQ-0008 | 21-502-331.02 | ASTM A48 Class 25B | 5 | 4
150-00-PU-005 A | 5 | Casing Wearings | SJEC-DGNRCU-ENMA-DWEQ-0008 | 21-502-404.01 | ASTM A48 Class 25B | 5 | 4
150-00-PU-005 A | 6 | Spiral Wound Gasket | SJEC-DGNRCU-ENMA-DWEQ-0008 | 22-416-131.01 | SS 316 | 1 | 4
150-00-PU-005 A | 7 | Mechanical Seal Component | - | 22-433-070.01 | Multi Material | 1 | 4
150-00-PU-005 A | 8 | Mechanical Seal Assembly | - | 21-433-760.08 | STD | 1 | 4
150-00-PU-005 A | 9 | Bearings of Motors,D side | SJEC-DGNRCU-ENMA-DSEQ-0002 | 22-320-312.00 | STD | 1 | 4
150-00-PU-005 A | 10 | Bearings of Motors,N side | SJEC-DGNRCU-ENMA-DSEQ-0002 | 22-320-312.00 | STD | 1 | 4
150-00-PU-005 A | 11 | Fan for Motor | - | - | - | 1 | 4
150-00-PU-005 A | 12 | Oil Seal Ring for Motors | - | - | - | 1 | 4
150-00-PU-005 A | 13 | Angular contact ball bearings-Duble row | SJEC-DGNRCU-ENMA-DWEQ-0008 | 22-323-312.01 | STD | 1 | 4
150-00-PU-005 A | 14 | Shaft Sleeve | SJEC-DGNRCU-ENMA-DWEQ-0008 | 21-220-227.06 | A276 Type 420 | 1 | 4
150-00-PU-005 A | 15 | Shaft Sleeve | SJEC-DGNRCU-ENMA-DWEQ-0008 | 21-220-227.07 | A276 Type 420 | 1 | 4
150-00-PU-005 A | 16 | Cylindrical roller bearing | SJEC-DGNRCU-ENMA-DWEQ-0008 | 22-325-312.00 | STD | 1 | 4
150-00-PU-005 D | 1 | Impeller | SJEC-DGNRCU-ENMA-DWEQ-0009 | 21-230-993.01 | ASTM A48 Class 25B | 5 | 4
150-00-PU-005 D | 2 | Shaft Sleeve | SJEC-DGNRCU-ENMA-DWEQ-0009 | 21-220-225.04 | A276 Type 420 | 1 | 4
150-00-PU-005 D | 3 | Shaft | SJEC-DGNRCU-ENMA-DWEQ-0009 | 21-210-927.08 | ASTM A576 Gr 1045 | 1 | 4
150-00-PU-005 D | 4 | Shaft Sleeve | SJEC-DGNRCU-ENMA-DWEQ-0009 | 21-220-227.06 | A276 Type 420 | 1 | 4
150-00-PU-005 D | 5 | Shaft Sleeve | SJEC-DGNRCU-ENMA-DWEQ-0009 | 21-220-227.07 | A276 Type 420 | 1 | 4
150-00-PU-005 D | 6 | Angular contact ball bearings-Duble row | SJEC-DGNRCU-ENMA-DWEQ-0009 | 22-323-312.01 | STD | 1 | 4
150-00-PU-005 D | 7 | Cylindrical roller bearing | SJEC-DGNRCU-ENMA-DWEQ-0009 | 22-325-312.00 | STD | 1 | 4
150-00-PU-005 D | 8 | Impeller Wearings | SJEC-DGNRCU-ENMA-DWEQ-0009 | 21-502-331.02 | ASTM A48 Class 25B | 5 | 4
150-00-PU-005 D | 9 | Casing Wearings | SJEC-DGNRCU-ENMA-DWEQ-0009 | 21-502-404.01 | ASTM A48 Class 25B | 5 | 4
150-00-PU-005 D | 10 | Mechanical Seal Component | - | 22-433-070.01 | Multi Material | 1 | 4
150-00-PU-005 D | 11 | Mechanical Seal Assembly | - | 21-433-760.08 | STD | 1 | 4
150-00-PU-005 D | 12 | Spiral Wound Gasket | SJEC-DGNRCU-ENMA-DWEQ-0009 | 22-416-131.01 | SS 316 | 1 | 4