## DC Charger Spare Parts
DC CHARGER & BATTERIES - TWO YEARS SPARE PARTS LIST
Document No: | SJEC-DGNRDC-ENEL-LISP-0001-V01 | [5 empty] | Equipment Tag: | 150-00-BCH-01
Contract No: | SJ-CN-SC-99-0060 | [5 empty] | Equipment: | DC CHARGER, 110VDC, 69A
PO No: | SJEC-DGNRDC-ENEL-ORPU-0001 | [5 empty] | Manufacturer: | PARS KAVIR ARVAND
Status: | AC (Accepted) | [5 empty] | Date: | 19-May-2024
Item_No | Equipment_Class | Classification | Unit | Total_Installed | Description | Drawing_Ref | Manufacturer_Part_No | Material | Qty_2Years_Operation | Qty_Commissioning | Qty_Supplied_PASARGAD | Remarks
1 | 21 | Equipment Class | pcs. | 26 | FUSE, 10*-38mm, 2A | SJEC-DGNRDC-ENEL-DIWI-0001 | 2620001 | Multimaterial | 8
2 | 21 | Equipment Class | PCS. | 2 | MCB, 40A, 2Pole, C curve (circuit breaker) | SJEC-DGNRDC-ENEL-DIWI-0001 | 2CDS252001R0404 | Multimaterial | 1
3 | 21 | Equipment Class | PCS. | 2 | MCB, 50A, 2Pole, C Curve (circuit breaker) | SJEC-DGNRDC-ENEL-DIWI-0001 | 2CDS252001R0504 | Multimaterial | 1
4 | 21 | Equipment Class | PCS. | 5 | MCB, 10A, 2Pole, C curve (circuit breaker) | SJEC-DGNRDC-ENEL-DIWI-0001 | 2CDS25200R0104 | Multimaterial | 1
5 | 21 | Equipment Class | pcs. | 2 | MCB - 6A, 1P, for heater & lighting | SJEC-DGNRDC-ENEL-DIWI-0001 | 2CDS251001R0064 | Multimaterial | 1
6 | 21 | Equipment Class | pcs. | 12 | Thyristor (SCR), SKKT 106 | SJEC-DGNRDC-ENEL-DIWI-0001 | SKKT 106 | Multimaterial | 4
7 | 21 | Equipment Class | pcs. | 2 | Block Diode Module, 120A | SJEC-DGNRDC-ENEL-DIWI-0001 | BDM120 | Multimaterial | 1
8 | 21 | Equipment Class | pcs. | 1 | Signal lamp, 110V | SJEC-DGNRDC-ENEL-DIWI-0001 | 607103005 | Multimaterial | 1
9 | 21 | Equipment Class | pcs. | 4 | Thyristor Driver PCB (control cards) | SJEC-DGNRDC-ENEL-DIWI-0001 | DTD-PK-02 | Multimaterial | 1
10 | 21 | Equipment Class | pcs. | 3 | Voltage Supervisor PCB (control cards) | SJEC-DGNRDC-ENEL-DIWI-0001 | CVS-PK-01 | Multimaterial | 1
11 | 21 | Equipment Class | cell | 176 | Batteries (SBM112, 88 Cells)(2 Banks) | SJEC-DGNRDC-ENEL-DIWI-0001 | SBM112 | Multimaterial | 9