## Document Info
Document_No | SJEC-DPRFFM-ENIN-LISP-0001-V05
Title | Spare Parts List (Commissioning & Two-Years) - Fiscal Metering System
Project | Sepehr-Jufair Field Development And Production Operations
Contract_No | SJ-CN-SC-99-0060
PO_No | SJEC-DPRFFM-ENIN-ORPU-0001
Pages_Extracted | 14, 15, 16, 17
Revision | V05
Status | NA (Not Approved)
Extraction_Date | 2025-10-03 23:53:09

## P14-Control System
Page | Table | Section | Item_No | Category | Items | Description | Model | Specification | MTO_QTY | Unit | Procedure | Total_QTY | Remarks
14 | TABLE-2 | Control System | 3 | DI (Digital Input) | SIMATIC S7-300, DIGITAL INPUT SM 321, OPTICALLY ISOLATED 32DI, 24 V DC, 40PIN | Digital Input Module SM 321 | 6ES7321-1BL00-0AA0 | Optically isolated, 32DI, 24V DC, 40-pin | 1 | EA | 25% (min. 1) | 1 | SIMATIC S7-300 Digital Input Module
14 | TABLE-2 | Control System | 4 | DO (Digital Output) | SIMATIC S7-300, Digital output SM 322, isolated, 32 DO, 24 V DC, 0.5A, 1x 40-pole, Total current 4 A/group (16 A/module) | Digital Output Module SM 322 | 6ES7322-1BL00-0AA0 | Isolated, 32DO, 24V DC, 0.5A, 40-pole, 4A/group (16A/module) | 1 | EA | 25% (min. 1) | 1 | SIMATIC S7-300 Digital Output Module
14 | TABLE-2 | Control System | 5 | AI (Analog Input) | SIMATIC S7-300, Analog input SM 331, isolated, 8 AI, Resolution 9/12/14 bits, U/I/thermocouple/resistor, alarm, diagnostics, 1x 20-pole Removing/inserting with active backplane bus | Analog Input Module SM 331 | 6ES7331-7KF02-0AB0 | Isolated, 8AI, 9/12/14 bits, U/I/TC/RTD, 20-pole | 1 | EA | 25% (min. 1) | 1 | SIMATIC S7-300 Analog Input Module
14 | TABLE-2 | Control System | 6 | F-DI (Fail-safe Digital Input) | SIMATIC S7, Digital input SM 326, F-DI 24x24 V DC, Fail-safe digital input for SIMATIC S7 F-systems with diagnostic alarm, up to Category 4 (EN 954-1)/ SIL3 (IEC61508)/PLE (ISO13849), 1x 40-pole | Fail-safe Digital Input Module SM 326 | 6ES7326-1BK02-0AB0 | F-DI 24x24V DC, Cat.4/SIL3/PLE, 40-pole | 1 | EA | 25% (min. 1) | 1 | SIMATIC S7 Fail-safe Digital Input
14 | TABLE-2 | Control System | 7 | F-DO (Fail-safe Digital Output) | SIMATIC S7, digital output SM 326, F-DO10x 24 V DC/2A PP, fail-safe digital output for SIMATIC S7F systems, with diagnostic alarm, LVV, up to Category 4 (EN 954-1)/ SIL3 (IEC61508)/PLE (ISO13849), 1x 40-pole | Fail-safe Digital Output Module SM 326 | 6ES7326-2BF10-0AB0 | F-DO 10x24V DC/2A, Cat.4/SIL3/PLE, 40-pole | 1 | EA | 25% (min. 1) | 1 | SIMATIC S7 Fail-safe Digital Output
14 | TABLE-2 | Control System | 8 | F-AI (Fail-safe Analog Input) | SIMATIC S7, Analog input SM 336, 6 AI; 15 bit; fail-safe analog inputs for SIMATIC Safety, with HART support, up to Category 4 (EN 954-1)/ SIL3 (IEC61508)/PLE (ISO13849), 1x 20-pole | Fail-safe Analog Input Module SM 336 | 6ES7336-4GE00-0AB0 | 6AI, 15-bit, HART support, Cat.4/SIL3/PLE, 20-pole | 1 | EA | 25% (min. 1) | 1 | SIMATIC S7 Fail-safe Analog Input with HART
14 | TABLE-2 | Control System | 9 | Bus Extender Module | Bus Extender Module | Bus Extender Module | — | — | — | — | — | — | Not specified
14 | TABLE-2 | Control System | 10 | Sync Module | SIMATIC S7-400H, SYNC SUBMODULE V6 FOR PATCH CABLES UP TO 10M | Sync Submodule for S7-400H | 6ES7960-1AA06-0XA0 | V6, for patch cables up to 10m | 4 | EA | 25% (min. 1) | 1 | SIMATIC S7-400H Sync Submodule
14 | TABLE-2 | Control System | 11 | Communication Module and Dongles | Communications processor CP 443-1; 2x 10/100 Mbit/s (IE switch); RJ45 ports; ISO; TCP; UDP; PROFINET IO controller; S7 communication; Open communication (SEND/ RECEIVE); S7 routing; IP configuration via DHCP/ Block; IP Access Control List; Time synchronization; extended web diagnostics; Fast Start-up; Support for PROFIenergy | Communications Processor CP 443-1 | 6GK7443-1EX30-0XE0 | 2x10/100Mbit/s, RJ45, PROFINET IO, S7 comm., DHCP, ACL | 2 | EA | 25% (min. 1) | 1 | SIMATIC CP 443-1 Communication Processor
14 | TABLE-2 | Control System | 12 | Internal Cable and Connectors | SIMATIC S7-400H, PATCH CABLE FO 1M FOR SYNC-MODULE | Fiber Optic Patch Cable 1m | 6ES7960-1AA04-5AA0 | 1 meter fiber optic patch cable for sync module | 2 | EA | 25% (min. 1) | 1 | S7-400H patch cable for sync module
14 | TABLE-2 | Control System | 13 | Terminal and Accessory | Terminal and Accessory | Terminals and accessories | — | Various terminals and accessories | 450 | LOT | 25% (min. 1) | 113 | Terminal blocks and accessories
14 | TABLE-2 | Control System | 14 | Fuse | Fuse | Fuses for control system | — | Various ratings | 250 | LOT | 25% (min. 1) | 63 | Control system fuses
14 | TABLE-2 | Control System | 15 | Relay | PLC-INTERFACE, consisting of basic terminal block PLC-BSC.../21 with screw connection and plug-in miniature relay with power contact, for assembly on DIN rail NS 35/7,5, 1 changeover contact, input voltage 24 V DC | PLC Interface Relay | PHOENIX/2966171 | DIN rail mount, 24V DC, 1 changeover contact | 18 | EA | 25% (min. 1) | 5 | Phoenix PLC interface relay
14 | TABLE-2 | Control System | 16 | Circuit Breaker | CIRCUIT BREAKER AC(1,2) POLE | Circuit breaker AC 1 or 2 pole | — | AC circuit breaker, 1 or 2 pole | 12 | EA | 25% (min. 1) | 3 | AC circuit breaker
14 | TABLE-2 | Control System | 17 | Switch | SCALANCE X212-2, managed IE switch, 12x 10/100 Mbit/s RJ45 ports, 2x 100 Mbit/s multimode BFOC, LED diagnostics, error-signaling contact with set button, redundant power supply, PROFINET IO device, network management, redundancy manager integrated, incl. electron. manual on CD-ROM, C-plug optional | SCALANCE X212-2 Managed Switch | 6GK5212-2BB00-2AA3 | 12xRJ45 10/100Mbit/s, 2xBFOC 100Mbit/s, redundant PS | 2 | EA | 25% (min. 1) | 1 | SCALANCE managed Industrial Ethernet switch
14 | TABLE-2 | Control System | 18 | Selector Switch | Selector Switch | Selector switch | — | — | — | — | — | — | Not specified
14 | TABLE-2 | Control System | 19 | Barrier (AI) | 2-channel isolated barrier < 24 V DC supply (Power Rail) < Input 2-wire and 3-wire SMART transmitters and 2-wire SMART current sources < Output 0/4 mA ... 20 mA < Terminals with test points | 2-channel AI isolated barrier | GMI/ D5014D | 24V DC, 2/3-wire SMART, 0/4-20mA output, test points | 24 | EA | 25% (min. 1) | 6 | GMI 2-channel isolated barrier for AI

## P15-Barriers & Accessories
Page | Table | Section | Item_No | Category | Items | Description | Model | Specification | MTO_QTY | Unit | Procedure | Total_QTY | Remarks
15 | TABLE-2 | Control System | 20 | Barrier (AO) | < 1-channel isolated barrier < 24 V DC supply (Power Rail) < Current output up to 650 Ω load < HART I/P and valve positioner < Line fault detection (LFD) < Accuracy 0.1 % | 1-channel AO isolated barrier | GMI/ D5020S | 24V DC, up to 650Ω load, HART, LFD, 0.1% accuracy | 3 | EA | 25% (min. 1) | 1 | GMI 1-channel isolated barrier for AO
15 | TABLE-2 | Control System | 21 | Bus Connector | DP, BUS CONNECTOR FOR PROFIBUS UP TO 12 MBIT/S 90 DEGREE ANGLE CABLE OUTLET, IPCD TECHNOLOGY FAST CONNECT, WITHOUT PG SOCKET 15,8 X 59 X 35,6 MM (WXHXD), LKZ: DE | PROFIBUS DP Bus Connector | 6ES7972-0BA52-0XA0 | Up to 12Mbit/s, 90° angle, IPCD fast connect, no PG socket | Lot | LOT | 25% (min. 1) | 25% | PROFIBUS DP bus connector
15 | TABLE-2 | Control System | 22 | Gateway | Gateway | Gateway | — | — | — | — | — | — | Not specified
15 | TABLE-2 | Control System | 23 | Push Button | Push Button | Push button | — | — | — | — | — | — | Not specified
15 | TABLE-2 | Control System | 24 | Lamp | Lamp | Lamp | — | — | — | — | — | — | Not specified
15 | TABLE-2 | Control System | 25 | Battery & Fuse | Battery & Fuse | Battery and fuse | — | — | — | — | — | — | Not specified
15 | TABLE-2 | Control System | 26 | Cabinet Fan & Filters | Cabinet Fan & Filters | Cabinet fan and filters | — | — | 2 | EA | 25% (min. 1) | 1 | Cabinet cooling fan and filters
15 | TABLE-2 | Control System | 27 | Alarm Module (Monitor Switch) | Alarm Module (Monitor Switch) | Alarm module / monitor switch | — | — | — | — | — | — | Not specified
15 | TABLE-2 | Control System | 28 | Label for Cable | Label for Cable | Cable labels | — | — | — | — | — | — | Not specified
15 | TABLE-2 | Control System | 29 | Voltmeter | Voltmeter | Voltmeter | — | — | — | — | — | — | Not specified
15 | TABLE-2 | Control System | 30 | Amp. Meter | Amp. Meter | Ampere meter | — | — | — | — | — | — | Not specified

## P15-Piping Gaskets
Page | Table | Section | Item_No | Category | Items | Description | Size | Rating | Specification | MTO_QTY | Unit | Procedure | Spare_QTY | Remarks
15 | TABLE-3 | Spare Parts for Piping | 1 | Gasket | GASKET, RF, SPIRAL WOUND/WINDING: C.S FILLER: GRAPHITE/ IR: SS316L/OR: CS, Thk. 4.5mm, ASME B16.20 | Spiral wound gasket with graphite filler | 20" | 300# | RF, C.S winding, Graphite filler, SS316L IR, CS OR, 4.5mm thick, ASME B16.20 | 4 | EA | For each size, type 10% (Min. 1) | 1 | 20" 300# spiral wound gasket
15 | TABLE-3 | Spare Parts for Piping | 1 | Gasket | GASKET, RF, SPIRAL WOUND/WINDING: C.S FILLER: GRAPHITE/ IR: SS316L/OR: CS, Thk. 4.5mm, ASME B16.20 | Spiral wound gasket with graphite filler | 16" | 300# | RF, C.S winding, Graphite filler, SS316L IR, CS OR, 4.5mm thick, ASME B16.20 | 8 | EA | For each size, type 10% (Min. 1) | 1 | 16" 300# spiral wound gasket
15 | TABLE-3 | Spare Parts for Piping | 1 | Gasket | GASKET, RF, SPIRAL WOUND/WINDING: C.S FILLER: GRAPHITE/ IR: SS316L/OR: CS, Thk. 4.5mm, ASME B16.20 | Spiral wound gasket with graphite filler | 12" | 300# | RF, C.S winding, Graphite filler, SS316L IR, CS OR, 4.5mm thick, ASME B16.20 | 2 | EA | For each size, type 10% (Min. 1) | 1 | 12" 300# spiral wound gasket
15 | TABLE-3 | Spare Parts for Piping | 1 | Gasket | GASKET, RF, SPIRAL WOUND/WINDING: C.S FILLER: GRAPHITE/ IR: SS316L/OR: CS, Thk. 4.5mm, ASME B16.20 | Spiral wound gasket with graphite filler | 8" | 300# | RF, C.S winding, Graphite filler, SS316L IR, CS OR, 4.5mm thick, ASME B16.20 | 4 | EA | For each size, type 10% (Min. 1) | 1 | 8" 300# spiral wound gasket
15 | TABLE-3 | Spare Parts for Piping | 1 | Gasket | GASKET, RF, SPIRAL WOUND/WINDING: C.S FILLER: GRAPHITE/ IR: SS316L/OR: CS, Thk. 4.5mm, ASME B16.20 | Spiral wound gasket with graphite filler | 6" | 300# | RF, C.S winding, Graphite filler, SS316L IR, CS OR, 4.5mm thick, ASME B16.20 | 50 | EA | For each size, type 10% (Min. 1) | 5 | 6" 300# spiral wound gasket
15 | TABLE-3 | Spare Parts for Piping | 1 | Gasket | GASKET, RF, SPIRAL WOUND/WINDING: C.S FILLER: GRAPHITE/ IR: SS316L/OR: CS, Thk. 4.5mm, ASME B16.20 | Spiral wound gasket with graphite filler | 3" | 300# | RF, C.S winding, Graphite filler, SS316L IR, CS OR, 4.5mm thick, ASME B16.20 | 14 | EA | For each size, type 10% (Min. 1) | 2 | 3" 300# spiral wound gasket
15 | TABLE-3 | Spare Parts for Piping | 1 | Gasket | GASKET, RF, SPIRAL WOUND/WINDING: C.S FILLER: GRAPHITE/ IR: SS316L/OR: CS, Thk. 4.5mm, ASME B16.20 | Spiral wound gasket with graphite filler | 1-1/2" | 300# | RF, C.S winding, Graphite filler, SS316L IR, CS OR, 4.5mm thick, ASME B16.20 | 31 | EA | For each size, type 10% (Min. 1) | 4 | 1-1/2" 300# spiral wound gasket
15 | TABLE-3 | Spare Parts for Piping | 1 | Gasket | GASKET, RF, SPIRAL WOUND/WINDING: C.S FILLER: GRAPHITE/ IR: SS316L/OR: CS, Thk. 4.5mm, ASME B16.20 | Spiral wound gasket with graphite filler | 1" | 300# | RF, C.S winding, Graphite filler, SS316L IR, CS OR, 4.5mm thick, ASME B16.20 | 7 | EA | For each size, type 10% (Min. 1) | 1 | 1" 300# spiral wound gasket
15 | TABLE-3 | Spare Parts for Piping | 1 | Gasket | GASKET, RF, SPIRAL WOUND/WINDING: C.S FILLER: GRAPHITE/ IR: SS316L/OR: CS, Thk. 4.5mm, ASME B16.20 | Spiral wound gasket with graphite filler | 3/4" | 300# | RF, C.S winding, Graphite filler, SS316L IR, CS OR, 4.5mm thick, ASME B16.20 | 11 | EA | For each size, type 10% (Min. 1) | 2 | 3/4" 300# spiral wound gasket
15 | TABLE-3 | Spare Parts for Piping | 1 | Gasket | GASKET, RF, SPIRAL WOUND/WINDING: C.S FILLER: GRAPHITE/ IR: SS316L/OR: CS, Thk. 4.5mm, ASME B16.20 | Spiral wound gasket with graphite filler | 1/2" | 300# | RF, C.S winding, Graphite filler, SS316L IR, CS OR, 4.5mm thick, ASME B16.20 | 17 | EA | For each size, type 10% (Min. 1) | 2 | 1/2" 300# spiral wound gasket
15 | TABLE-3 | Spare Parts for Piping | 1 | Gasket | GASKET, RF, SPIRAL WOUND/WINDING: C.S FILLER: GRAPHITE/ IR: SS316L/OR: CS, Thk. 4.5mm, ASME B16.20 | Spiral wound gasket with graphite filler | 2" | 150# | RF, C.S winding, Graphite filler, SS316L IR, CS OR, 4.5mm thick, ASME B16.20 | 40 | EA | For each size, type 10% (Min. 1) | 4 | 2" 150# spiral wound gasket
15 | TABLE-3 | Spare Parts for Piping | 1 | Gasket | GASKET, RF, SPIRAL WOUND/WINDING: C.S FILLER: GRAPHITE/ IR: SS316L/OR: CS, Thk. 4.5mm, ASME B16.20 | Spiral wound gasket with graphite filler | 1" | 150# | RF, C.S winding, Graphite filler, SS316L IR, CS OR, 4.5mm thick, ASME B16.20 | 28 | EA | For each size, type 10% (Min. 1) | 3 | 1" 150# spiral wound gasket
15 | TABLE-3 | Spare Parts for Piping | 1 | Gasket | GASKET, RF, SPIRAL WOUND/WINDING: C.S FILLER: GRAPHITE/ IR: SS316L/OR: CS, Thk. 4.5mm, ASME B16.20 | Spiral wound gasket with graphite filler | 3/4" | 150# | RF, C.S winding, Graphite filler, SS316L IR, CS OR, 4.5mm thick, ASME B16.20 | 5 | EA | For each size, type 10% (Min. 1) | 1 | 3/4" 150# spiral wound gasket
15 | TABLE-3 | Spare Parts for Piping | 1 | Gasket | GASKET, RF, SPIRAL WOUND/WINDING: C.S FILLER: GRAPHITE/ IR: SS316L/OR: CS, Thk. 4.5mm, ASME B16.20 | Spiral wound gasket with graphite filler | 1/2" | 150# | RF, C.S winding, Graphite filler, SS316L IR, CS OR, 4.5mm thick, ASME B16.20 | 15 | EA | For each size, type 10% (Min. 1) | 2 | 1/2" 150# spiral wound gasket

## P16-Stud Bolts & Nuts
Page | Table | Section | Item_No | Category | Items | Description | Size | Rating | Specification | MTO_QTY | Unit | Procedure | Spare_QTY | Remarks
16 | TABLE-3 | Spare Parts for Piping | 2 | Stud bolts and Nuts | BOLT, STUD, ASME B18.2.1 AND ASME B18.2.2 ASTM A193 GR. B7M /ASTM A194 GR. 2HM (2WASHER & 2 NUTS) | Stud bolts with washers and nuts | 20" | 300# | ASME B18.2.1/B18.2.2, A193 GR.B7M/A194 GR.2HM, 2 washers & 2 nuts | 72 | EA | For each size, type 10% (Min. 1) | 7 | 20" 300# stud bolts set
16 | TABLE-3 | Spare Parts for Piping | 2 | Stud bolts and Nuts | BOLT, STUD, ASME B18.2.1 AND ASME B18.2.2 ASTM A193 GR. B7M /ASTM A194 GR. 2HM (2WASHER & 2 NUTS) | Stud bolts with washers and nuts | 16" | 300# | ASME B18.2.1/B18.2.2, A193 GR.B7M/A194 GR.2HM, 2 washers & 2 nuts | 520 | EA | For each size, type 10% (Min. 1) | 52 | 16" 300# stud bolts set
16 | TABLE-3 | Spare Parts for Piping | 2 | Stud bolts and Nuts | BOLT, STUD, ASME B18.2.1 AND ASME B18.2.2 ASTM A193 GR. B7M /ASTM A194 GR. 2HM (2WASHER & 2 NUTS) | Stud bolts with washers and nuts | 12" | 300# | ASME B18.2.1/B18.2.2, A193 GR.B7M/A194 GR.2HM, 2 washers & 2 nuts | 32 | EA | For each size, type 10% (Min. 1) | 3 | 12" 300# stud bolts set
16 | TABLE-3 | Spare Parts for Piping | 2 | Stud bolts and Nuts | BOLT, STUD, ASME B18.2.1 AND ASME B18.2.2 ASTM A193 GR. B7M /ASTM A194 GR. 2HM (2WASHER & 2 NUTS) | Stud bolts with washers and nuts | 8" | 300# | ASME B18.2.1/B18.2.2, A193 GR.B7M/A194 GR.2HM, 2 washers & 2 nuts | 48 | EA | For each size, type 10% (Min. 1) | 5 | 8" 300# stud bolts set
16 | TABLE-3 | Spare Parts for Piping | 2 | Stud bolts and Nuts | BOLT, STUD, ASME B18.2.1 AND ASME B18.2.2 ASTM A193 GR. B7M /ASTM A194 GR. 2HM (2WASHER & 2 NUTS) | Stud bolts with washers and nuts | 6" | 300# | ASME B18.2.1/B18.2.2, A193 GR.B7M/A194 GR.2HM, 2 washers & 2 nuts | 552 | EA | For each size, type 10% (Min. 1) | 55 | 6" 300# stud bolts set
16 | TABLE-3 | Spare Parts for Piping | 2 | Stud bolts and Nuts | BOLT, STUD, ASME B18.2.1 AND ASME B18.2.2 ASTM A193 GR. B7M /ASTM A194 GR. 2HM (2WASHER & 2 NUTS) | Stud bolts with washers and nuts | 3" | 300# | ASME B18.2.1/B18.2.2, A193 GR.B7M/A194 GR.2HM, 2 washers & 2 nuts | 48 | EA | For each size, type 10% (Min. 1) | 5 | 3" 300# stud bolts set
16 | TABLE-3 | Spare Parts for Piping | 2 | Stud bolts and Nuts | BOLT, STUD, ASME B18.2.1 AND ASME B18.2.2 ASTM A193 GR. B7M /ASTM A194 GR. 2HM (2WASHER & 2 NUTS) | Stud bolts with washers and nuts | 1-1/2" | 300# | ASME B18.2.1/B18.2.2, A193 GR.B7M/A194 GR.2HM, 2 washers & 2 nuts | 68 | EA | For each size, type 10% (Min. 1) | 7 | 1-1/2" 300# stud bolts set
16 | TABLE-3 | Spare Parts for Piping | 2 | Stud bolts and Nuts | BOLT, STUD, ASME B18.2.1 AND ASME B18.2.2 ASTM A193 GR. B7M /ASTM A194 GR. 2HM (2WASHER & 2 NUTS) | Stud bolts with washers and nuts | 1" | 300# | ASME B18.2.1/B18.2.2, A193 GR.B7M/A194 GR.2HM, 2 washers & 2 nuts | 12 | EA | For each size, type 10% (Min. 1) | 1 | 1" 300# stud bolts set
16 | TABLE-3 | Spare Parts for Piping | 2 | Stud bolts and Nuts | BOLT, STUD, ASME B18.2.1 AND ASME B18.2.2 ASTM A193 GR. B7M /ASTM A194 GR. 2HM (2WASHER & 2 NUTS) | Stud bolts with washers and nuts | 3/4" | 300# | ASME B18.2.1/B18.2.2, A193 GR.B7M/A194 GR.2HM, 2 washers & 2 nuts | 28 | EA | For each size, type 10% (Min. 1) | 3 | 3/4" 300# stud bolts set
16 | TABLE-3 | Spare Parts for Piping | 2 | Stud bolts and Nuts | BOLT, STUD, ASME B18.2.1 AND ASME B18.2.2 ASTM A193 GR. B7M /ASTM A194 GR. 2HM (2WASHER & 2 NUTS) | Stud bolts with washers and nuts | 1/2" | 300# | ASME B18.2.1/B18.2.2, A193 GR.B7M/A194 GR.2HM, 2 washers & 2 nuts | 56 | EA | For each size, type 10% (Min. 1) | 6 | 1/2" 300# stud bolts set
16 | TABLE-3 | Spare Parts for Piping | 2 | Stud bolts and Nuts | BOLT, STUD, ASME B18.2.1 AND ASME B18.2.2 ASTM A193 GR. B7M /ASTM A194 GR. 2HM (2WASHER & 2 NUTS) | Stud bolts with washers and nuts | 2" | 150# | ASME B18.2.1/B18.2.2, A193 GR.B7M/A194 GR.2HM, 2 washers & 2 nuts | 88 | EA | For each size, type 10% (Min. 1) | 9 | 2" 150# stud bolts set
16 | TABLE-3 | Spare Parts for Piping | 2 | Stud bolts and Nuts | BOLT, STUD, ASME B18.2.1 AND ASME B18.2.2 ASTM A193 GR. B7M /ASTM A194 GR. 2HM (2WASHER & 2 NUTS) | Stud bolts with washers and nuts | 1" | 150# | ASME B18.2.1/B18.2.2, A193 GR.B7M/A194 GR.2HM, 2 washers & 2 nuts | 92 | EA | For each size, type 10% (Min. 1) | 9 | 1" 150# stud bolts set
16 | TABLE-3 | Spare Parts for Piping | 2 | Stud bolts and Nuts | BOLT, STUD, ASME B18.2.1 AND ASME B18.2.2 ASTM A193 GR. B7M /ASTM A194 GR. 2HM (2WASHER & 2 NUTS) | Stud bolts with washers and nuts | 3/4" | 150# | ASME B18.2.1/B18.2.2, A193 GR.B7M/A194 GR.2HM, 2 washers & 2 nuts | 12 | EA | For each size, type 10% (Min. 1) | 1 | 3/4" 150# stud bolts set
16 | TABLE-3 | Spare Parts for Piping | 2 | Stud bolts and Nuts | BOLT, STUD, ASME B18.2.1 AND ASME B18.2.2 ASTM A193 GR. B7M /ASTM A194 GR. 2HM (2WASHER & 2 NUTS) | Stud bolts with washers and nuts | 1/2" | 150# | ASME B18.2.1/B18.2.2, A193 GR.B7M/A194 GR.2HM, 2 washers & 2 nuts | 60 | EA | For each size, type 10% (Min. 1) | 6 | 1/2" 150# stud bolts set

## P16-Valve Spares
Page | Table | Section | Item_No | Category | Items | Description | Size | Rating | Body_Material | Ball_Material | Seat_Material | Stem_Material | Standard | MTO_QTY | Unit | Procedure | Spare_QTY | Remarks
16 | TABLE-3 | Spare Parts for Piping | 3 | Valve - BALL VALVE (MOV), FB | Seat | Ball valve MOV FB - Seat | 6" | 300#, RF | A216 WCB | AISI 410+ENP | PEEK | UNS S20910 | NACE MR0175/ISO15156, CAST, API 6D | 1 set | SET | 2 for each type, size and material | 2 Set | Ball valve MOV complete spare set
16 | TABLE-3 | Spare Parts for Piping | 3 | Valve - BALL VALVE (MOV), FB | Stem | Ball valve MOV FB - Stem | 6" | 300#, RF |  |  |  |  | NACE MR0175/ISO15156, CAST, API 6D | 1 set | SET | 2 for each type, size and material | 2 Set | Ball valve MOV stem
16 | TABLE-3 | Spare Parts for Piping | 3 | Valve - BALL VALVE (MOV), FB | Packing | Ball valve MOV FB - Packing | 6" | 300#, RF | [5 empty] | 1 set | SET | 2 for each type, size and material | 2 Set | Ball valve MOV packing
16 | TABLE-3 | Spare Parts for Piping | 3 | Valve - BALL VALVE (MOV), FB | Gasket & O-Ring | Ball valve MOV FB - Gasket & O-Ring | 6" | 300#, RF | [5 empty] | 1 set | SET | 2 for each type, size and material | 2 Set | Ball valve MOV gasket and O-ring
16 | TABLE-3 | Spare Parts for Piping | 3 | Valve - BALL VALVE (MOV), FB | Seal | Ball valve MOV FB - Seal | 6" | 300#, RF | [5 empty] | 1 set | SET | 2 for each type, size and material | 2 Set | Ball valve MOV seal
16 | TABLE-3 | Spare Parts for Piping | 3 | Valve - BALL VALVE (MOV), FB | Electronic board of actuator | Ball valve MOV FB - Electronic board | 6" | 300#, RF | [5 empty] | 1 set | SET | 2 for each type, size and material | 2 Set | Ball valve MOV actuator electronic board
16 | TABLE-3 | Spare Parts for Piping | 3 | Valve - BUTTERFLY BALL VALVE, LUG TYPE | Seat | Butterfly ball valve lug type - Seat | 6" | 300# | [5 empty] | 1 set | SET | 2 for each type, size and material | 2 Set | Butterfly valve complete spare set
16 | TABLE-3 | Spare Parts for Piping | 3 | Valve - BUTTERFLY BALL VALVE, LUG TYPE | Stem | Butterfly ball valve lug type - Stem | 6" | 300# | [5 empty] | 1 set | SET | 2 for each type, size and material | 2 Set | Butterfly valve stem
16 | TABLE-3 | Spare Parts for Piping | 3 | Valve - BUTTERFLY BALL VALVE, LUG TYPE | Packing | Butterfly ball valve lug type - Packing | 6" | 300# | [5 empty] | 1 set | SET | 2 for each type, size and material | 2 Set | Butterfly valve packing
16 | TABLE-3 | Spare Parts for Piping | 3 | Valve - BUTTERFLY BALL VALVE, LUG TYPE | Gasket & O-Ring | Butterfly ball valve lug type - Gasket & O-Ring | 6" | 300# | [5 empty] | 1 set | SET | 2 for each type, size and material | 2 Set | Butterfly valve gasket and O-ring
16 | TABLE-3 | Spare Parts for Piping | 3 | Valve - BUTTERFLY BALL VALVE, LUG TYPE | Seal | Butterfly ball valve lug type - Seal | 6" | 300# | [5 empty] | 1 set | SET | 2 for each type, size and material | 2 Set | Butterfly valve seal
16 | TABLE-3 | Spare Parts for Piping | 3 | Valve - BUTTERFLY BALL VALVE, LUG TYPE | Air Filter Regulator | Butterfly ball valve - Air filter regulator | 6" | 300# | [5 empty] | 1 set | SET | 2 for each type, size and material | 2 Set | Butterfly valve air filter regulator
16 | TABLE-3 | Spare Parts for Piping | 3 | Valve - BUTTERFLY BALL VALVE, LUG TYPE | I/P Positioner | Butterfly ball valve - I/P positioner | 6" | 300# | [5 empty] | 1 set | SET | 2 for each type, size and material | 2 Set | Butterfly valve I/P positioner
16 | TABLE-3 | Spare Parts for Piping | 3 | Valve - BALL VALVE (MOV), FB Complete | BALL VALVE (MOV), FB, BODY: A216 WCB, BALL: AISI 410+ENP, SEAT: PEEK, STEM: UNS S20910, NACE MR0175/ ISO15156, CAST, API 6D | Ball valve MOV complete unit | 6" | 300#, RF | [5 empty] | 7 | EA | 2% (Min. 2) for each size, type and material | 2 | Complete ball valve MOV assembly
16 | TABLE-3 | Spare Parts for Piping | 3 | Valve - BUTTERFLY BALL VALVE Complete | BUTTERFLY BALL VALVE, LUG TYPE | Butterfly ball valve complete unit | 6" | 300# | [5 empty] | 3 | EA | 2% (Min. 2) for each size, type and material | 2 | Complete butterfly valve assembly
16 | TABLE-3 | Spare Parts for Piping | 3 | Valve - BALL VALVE, SW | BALL VALVE, SW, WITH 2 NIPPLES, BODY: A105N, BALL: ASTM A182 F316, SEAT: PEEK, STEM: ASTM A276 Gr.316, NACE MR0175/ ISO15156 | Ball valve socket weld with 2 nipples | 1/2" | 800# | [5 empty] | 25 | EA | 5% for each size, type and material | 2 | Socket weld ball valve 1/2" 800#
16 | TABLE-3 | Spare Parts for Piping | 3 | Valve - BALL VALVE, SW | BALL VALVE, SW, WITH 2 NIPPLES, BODY: A105N, BALL: ASTM A182 F316, SEAT: PEEK, STEM: ASTM A276 Gr.316, NACE MR0175/ ISO15156 | Ball valve socket weld with 2 nipples | 3/4" | 800# | [5 empty] | 12 | EA | 5% for each size, type and material | 1 | Socket weld ball valve 3/4" 800#
16 | TABLE-3 | Spare Parts for Piping | 3 | Valve - BALL VALVE, SW | BALL VALVE, SW, WITH 2 NIPPLES, BODY: A105N, BALL: ASTM A182 F316, SEAT: PEEK, STEM: ASTM A276 Gr.316, NACE MR0175/ ISO15156 | Ball valve socket weld with 2 nipples | 1" | 800# | [5 empty] | 18 | EA | 5% for each size, type and material | 2 | Socket weld ball valve 1" 800#
16 | TABLE-3 | Spare Parts for Piping | 3 | Valve - BALL VALVE, SCREWED | BALL VALVE, SCREWED | Ball valve screwed | 1/2" | 800# | [5 empty] | 3 | EA | 5% for each size, type and material | 1 | Screwed ball valve 1/2" 800#
16 | TABLE-3 | Spare Parts for Piping | 3 | Valve - BALL VALVE, SW (Gland packing & bonnet gasket) | BALL VALVE, SW, WITH 2 NIPPLES, BODY: A105N, BALL: ASTM A182 F316, SEAT: PEEK, STEM: ASTM A276 Gr.316, NACE MR0175/ ISO15156 (Gland packing & bonnet gasket) | Ball valve SW - Gland packing & bonnet gasket | 1/2" | 800# | [5 empty] | 25 | EA | 10% | 3 | Ball valve gland packing & gasket 1/2"
16 | TABLE-3 | Spare Parts for Piping | 3 | Valve - BALL VALVE, SW (Gland packing & bonnet gasket) | BALL VALVE, SW, WITH 2 NIPPLES, BODY: A105N, BALL: ASTM A182 F316, SEAT: PEEK, STEM: ASTM A276 Gr.316, NACE MR0175/ ISO15156 (Gland packing & bonnet gasket) | Ball valve SW - Gland packing & bonnet gasket | 3/4" | 800# | [5 empty] | 12 | EA | 10% | 1 | Ball valve gland packing & gasket 3/4"
16 | TABLE-3 | Spare Parts for Piping | 3 | Valve - BALL VALVE, SW (Gland packing & bonnet gasket) | BALL VALVE, SW, WITH 2 NIPPLES, BODY: A105N, BALL: ASTM A182 F316, SEAT: PEEK, STEM: ASTM A276 Gr.316, NACE MR0175/ ISO15156 (Gland packing & bonnet gasket) | Ball valve SW - Gland packing & bonnet gasket | 1" | 800# | [5 empty] | 18 | EA | 10% | 2 | Ball valve gland packing & gasket 1"
16 | TABLE-3 | Spare Parts for Piping | 3 | Valve - BALL VALVE, SCREWED (Gland packing & bonnet gasket) | BALL VALVE, SCREWED (Gland packing & bonnet gasket) | Ball valve screwed - Gland packing & bonnet gasket | 1/2" | 800# | [5 empty] | 3 | EA | 10% | 1 | Screwed ball valve gland packing & gasket
16 | TABLE-3 | Spare Parts for Piping | 3 | Valve - SWING CHECK VALVE | SWING CHECK VALVE | Swing check valve | 2" | 150# | [5 empty] | 2 | EA | 2% (Min. 2) for each size, type and material | 2 | Swing check valve 2" 150#
16 | TABLE-3 | Spare Parts for Piping | 3 | Valve - MANUAL BALL VALVE, FB | MANUAL BALL VALVE, FB | Manual ball valve flanged | 3/4" | 300# | [5 empty] | 1 | EA | 2% (Min. 2) for each size, type and material | 1 | Manual ball valve FB 3/4" 300#

## P17-Valve Spares Cont
Page | Table | Section | Item_No | Category | Items | Description | Size | Rating | MTO_QTY | Unit | Procedure | Spare_QTY | Remarks
17 | TABLE-3 | Spare Parts for Piping | 3 | Valve - MANUAL BALL VALVE, FB | MANUAL BALL VALVE, FB | Manual ball valve flanged | 1" | 300# | 2 | EA | 5% for each size, type and material | 1 | Manual ball valve FB 1" 300#
17 | TABLE-3 | Spare Parts for Piping | 3 | Valve - MANUAL BALL VALVE, FB | MANUAL BALL VALVE, FB | Manual ball valve flanged | 2" | 300# | 4 | EA | 2% (Min. 2) for each size, type and material | 2 | Manual ball valve FB 2" 300#
17 | TABLE-3 | Spare Parts for Piping | 3 | Valve - MANUAL BALL VALVE, FB | MANUAL BALL VALVE, FB | Manual ball valve flanged | 3" | 300# | 2 | EA | 2% (Min. 2) for each size, type and material | 2 | Manual ball valve FB 3" 300#
17 | TABLE-3 | Spare Parts for Piping | 3 | Valve - MANUAL BALL VALVE, FB (Gland packing & bonnet gasket) | MANUAL BALL VALVE, FB (Gland packing & bonnet gasket) | Manual ball valve FB - Gland packing & bonnet gasket | 3/4" | 300# | 1 | EA | 10% | 1 | Manual ball valve gland packing & gasket 3/4"
17 | TABLE-3 | Spare Parts for Piping | 3 | Valve - MANUAL BALL VALVE, FB (Gland packing & bonnet gasket) | MANUAL BALL VALVE, FB (Gland packing & bonnet gasket) | Manual ball valve FB - Gland packing & bonnet gasket | 1" | 300# | 2 | EA | 10% | 1 | Manual ball valve gland packing & gasket 1"
17 | TABLE-3 | Spare Parts for Piping | 3 | Valve - MANUAL BALL VALVE, FB (Gland packing & bonnet gasket) | MANUAL BALL VALVE, FB (Gland packing & bonnet gasket) | Manual ball valve FB - Gland packing & bonnet gasket | 2" | 300# | 4 | EA | 10% | 1 | Manual ball valve gland packing & gasket 2"
17 | TABLE-3 | Spare Parts for Piping | 3 | Valve - MANUAL BALL VALVE, FB (Gland packing & bonnet gasket) | MANUAL BALL VALVE, FB (Gland packing & bonnet gasket) | Manual ball valve FB - Gland packing & bonnet gasket | 3" | 300# | 2 | EA | 10% | 1 | Manual ball valve gland packing & gasket 3"

## P17-NOTES
Page | Section | Note_No | Note_Text | Type | Remarks
17 | 6. NOTES | 1 | These items are excluded from our commission and 2-year spare parts. | Exclusion | Exclusion note for certain items
17 | 6. NOTES | 2 | This document has been prepared based on the latest revision of each Metering skid P&ID. | Reference | Document preparation based on P&ID
17 | 6. NOTES | 3 | This document has been prepared based on the latest revision of each Metering skid Power Cable List. | Reference | Document preparation based on Power Cable List
17 | 6. NOTES | 4 | This document has been prepared based on the latest revision of each Metering skid Instrument Cable List. | Reference | Document preparation based on Instrument Cable List
17 | 6. NOTES | 5 | This document has been prepared based on the latest revision of Control Panel Layout Drawing. | Reference | Document preparation based on Control Panel Layout