## Document Info
Document_No | SJEC-DPRFFM-ENIN-LISP-0001-V05
Title | Spare Parts List (Commissioning & Two-Years) - Fiscal Metering System
Project | Sepehr-Jufair Field Development And Production Operations
Contract_No | SJ-CN-SC-99-0060
PO_No | SJEC-DPRFFM-ENIN-ORPU-0001
Pages_Extracted | 6, 7, 8
Revision | V05
Status | NA (Not Approved)
Extraction_Date | 2025-10-03 10:47:20

## Page 6 - Gaskets
Page | Item_No | Category | Description | Size | Class | Material | Standard | Thickness | MTO_QTY | Unit | Procedure | Spare_QTY | Ref_Drawing | Remarks
6 | 1 | Gasket | GASKET, RF, SPIRAL WOUND/WINDING: C.S FILLER: GRAPHITE/ IR: SS316L/OR: CS, Thk. 4.5mm, ASME B16.20 | 20" | 300# | Winding: C.S, Filler: Graphite, IR: SS316L, OR: CS | ASME B16.20 | 4.5mm | 4 | EA | 20% | 1 | — | —
6 | 1 | Gasket | GASKET, RF, SPIRAL WOUND/WINDING: C.S FILLER: GRAPHITE/ IR: SS316L/OR: CS, Thk. 4.5mm, ASME B16.20 | 16" | 300# | Winding: C.S, Filler: Graphite, IR: SS316L, OR: CS | ASME B16.20 | 4.5mm | 8 | EA | 20% | 2 | — | —
6 | 1 | Gasket | GASKET, RF, SPIRAL WOUND/WINDING: C.S FILLER: GRAPHITE/ IR: SS316L/OR: CS, Thk. 4.5mm, ASME B16.20 | 12" | 300# | Winding: C.S, Filler: Graphite, IR: SS316L, OR: CS | ASME B16.20 | 4.5mm | 2 | EA | 20% | 1 | — | —
6 | 1 | Gasket | GASKET, RF, SPIRAL WOUND/WINDING: C.S FILLER: GRAPHITE/ IR: SS316L/OR: CS, Thk. 4.5mm, ASME B16.20 | 8" | 300# | Winding: C.S, Filler: Graphite, IR: SS316L, OR: CS | ASME B16.20 | 4.5mm | 4 | EA | 20% | 1 | — | —
6 | 1 | Gasket | GASKET, RF, SPIRAL WOUND/WINDING: C.S FILLER: GRAPHITE/ IR: SS316L/OR: CS, Thk. 4.5mm, ASME B16.20 | 6" | 300# | Winding: C.S, Filler: Graphite, IR: SS316L, OR: CS | ASME B16.20 | 4.5mm | 50 | EA | 20% | 10 | — | —
6 | 1 | Gasket | GASKET, RF, SPIRAL WOUND/WINDING: C.S FILLER: GRAPHITE/ IR: SS316L/OR: CS, Thk. 4.5mm, ASME B16.20 | 3" | 300# | Winding: C.S, Filler: Graphite, IR: SS316L, OR: CS | ASME B16.20 | 4.5mm | 14 | EA | 20% | 3 | — | —
6 | 1 | Gasket | GASKET, RF, SPIRAL WOUND/WINDING: C.S FILLER: GRAPHITE/ IR: SS316L/OR: CS, Thk. 4.5mm, ASME B16.20 | 1-1/2" | 300# | Winding: C.S, Filler: Graphite, IR: SS316L, OR: CS | ASME B16.20 | 4.5mm | 31 | EA | 20% | 6 | — | —
6 | 1 | Gasket | GASKET, RF, SPIRAL WOUND/WINDING: C.S FILLER: GRAPHITE/ IR: SS316L/OR: CS, Thk. 4.5mm, ASME B16.20 | 1" | 300# | Winding: C.S, Filler: Graphite, IR: SS316L, OR: CS | ASME B16.20 | 4.5mm | 7 | EA | 20% | 2 | — | —
6 | 1 | Gasket | GASKET, RF, SPIRAL WOUND/WINDING: C.S FILLER: GRAPHITE/ IR: SS316L/OR: CS, Thk. 4.5mm, ASME B16.20 | 3/4" | 300# | Winding: C.S, Filler: Graphite, IR: SS316L, OR: CS | ASME B16.20 | 4.5mm | 11 | EA | 20% | 2 | — | —
6 | 1 | Gasket | GASKET, RF, SPIRAL WOUND/WINDING: C.S FILLER: GRAPHITE/ IR: SS316L/OR: CS, Thk. 4.5mm, ASME B16.20 | 1/2" | 300# | Winding: C.S, Filler: Graphite, IR: SS316L, OR: CS | ASME B16.20 | 4.5mm | 17 | EA | 20% | 2 | — | —
6 | 1 | Gasket | GASKET, RF, SPIRAL WOUND/WINDING: C.S FILLER: GRAPHITE/ IR: SS316L/OR: CS, Thk. 4.5mm, ASME B16.20 | 2" | 150# | Winding: C.S, Filler: Graphite, IR: SS316L, OR: CS | ASME B16.20 | 4.5mm | 40 | EA | 20% | 8 | — | —
6 | 1 | Gasket | GASKET, RF, SPIRAL WOUND/WINDING: C.S FILLER: GRAPHITE/ IR: SS316L/OR: CS, Thk. 4.5mm, ASME B16.20 | 1" | 150# | Winding: C.S, Filler: Graphite, IR: SS316L, OR: CS | ASME B16.20 | 4.5mm | 28 | EA | 20% | 6 | — | —
6 | 1 | Gasket | GASKET, RF, SPIRAL WOUND/WINDING: C.S FILLER: GRAPHITE/ IR: SS316L/OR: CS, Thk. 4.5mm, ASME B16.20 | 3/4" | 150# | Winding: C.S, Filler: Graphite, IR: SS316L, OR: CS | ASME B16.20 | 4.5mm | 5 | EA | 20% | 1 | — | —
6 | 1 | Gasket | GASKET, RF, SPIRAL WOUND/WINDING: C.S FILLER: GRAPHITE/ IR: SS316L/OR: CS, Thk. 4.5mm, ASME B16.20 | 1/2" | 150# | Winding: C.S, Filler: Graphite, IR: SS316L, OR: CS | ASME B16.20 | 4.5mm | 15 | EA | 20% | 3 | — | —

## Page 6 - Bolts & Nuts
Page | Item_No | Category | Description | Size | Class | Material | Standard | Thickness | MTO_QTY | Unit | Procedure | Spare_QTY | Ref_Drawing | Remarks
6 | 2 | Stud Bolts and Nuts | BOLT, STUD, ASME B18.2.1 AND ASME B18.2.2 ASTM A193 GR. B7M /ASTM A194 GR. 2HM (2WASHER & 2 NUTS) | 20" | 300# | ASTM A193 Gr. B7M / ASTM A194 Gr. 2HM | ASME B18.2.1, ASME B18.2.2 | — | 72 | EA | 2" and over 5% | 4 | — | Includes 2 Washers & 2 Nuts
6 | 2 | Stud Bolts and Nuts | BOLT, STUD, ASME B18.2.1 AND ASME B18.2.2 ASTM A193 GR. B7M /ASTM A194 GR. 2HM (2WASHER & 2 NUTS) | 16" | 300# | ASTM A193 Gr. B7M / ASTM A194 Gr. 2HM | ASME B18.2.1, ASME B18.2.2 | — | 520 | EA | 2" and over 5% | 26 | — | Includes 2 Washers & 2 Nuts
6 | 2 | Stud Bolts and Nuts | BOLT, STUD, ASME B18.2.1 AND ASME B18.2.2 ASTM A193 GR. B7M /ASTM A194 GR. 2HM (2WASHER & 2 NUTS) | 12" | 300# | ASTM A193 Gr. B7M / ASTM A194 Gr. 2HM | ASME B18.2.1, ASME B18.2.2 | — | 32 | EA | 2" and over 5% | 2 | — | Includes 2 Washers & 2 Nuts
6 | 2 | Stud Bolts and Nuts | BOLT, STUD, ASME B18.2.1 AND ASME B18.2.2 ASTM A193 GR. B7M /ASTM A194 GR. 2HM (2WASHER & 2 NUTS) | 8" | 300# | ASTM A193 Gr. B7M / ASTM A194 Gr. 2HM | ASME B18.2.1, ASME B18.2.2 | — | 48 | EA | 2" and over 5% | 2 | — | Includes 2 Washers & 2 Nuts
6 | 2 | Stud Bolts and Nuts | BOLT, STUD, ASME B18.2.1 AND ASME B18.2.2 ASTM A193 GR. B7M /ASTM A194 GR. 2HM (2WASHER & 2 NUTS) | 6" | 300# | ASTM A193 Gr. B7M / ASTM A194 Gr. 2HM | ASME B18.2.1, ASME B18.2.2 | — | 552 | EA | 2" and over 5% | 28 | — | Includes 2 Washers & 2 Nuts
6 | 2 | Stud Bolts and Nuts | BOLT, STUD, ASME B18.2.1 AND ASME B18.2.2 ASTM A193 GR. B7M /ASTM A194 GR. 2HM (2WASHER & 2 NUTS) | 3" | 300# | ASTM A193 Gr. B7M / ASTM A194 Gr. 2HM | ASME B18.2.1, ASME B18.2.2 | — | 48 | EA | 1" to 1-7/8" 10% | 5 | — | Includes 2 Washers & 2 Nuts
6 | 2 | Stud Bolts and Nuts | BOLT, STUD, ASME B18.2.1 AND ASME B18.2.2 ASTM A193 GR. B7M /ASTM A194 GR. 2HM (2WASHER & 2 NUTS) | 1-1/2" | 300# | ASTM A193 Gr. B7M / ASTM A194 Gr. 2HM | ASME B18.2.1, ASME B18.2.2 | — | 68 | EA | 1" to 1-7/8" 10% | 7 | — | Includes 2 Washers & 2 Nuts
6 | 2 | Stud Bolts and Nuts | BOLT, STUD, ASME B18.2.1 AND ASME B18.2.2 ASTM A193 GR. B7M /ASTM A194 GR. 2HM (2WASHER & 2 NUTS) | 1" | 300# | ASTM A193 Gr. B7M / ASTM A194 Gr. 2HM | ASME B18.2.1, ASME B18.2.2 | — | 12 | EA | Less than 1" 15% | 3 | — | Includes 2 Washers & 2 Nuts
6 | 2 | Stud Bolts and Nuts | BOLT, STUD, ASME B18.2.1 AND ASME B18.2.2 ASTM A193 GR. B7M /ASTM A194 GR. 2HM (2WASHER & 2 NUTS) | 3/4" | 300# | ASTM A193 Gr. B7M / ASTM A194 Gr. 2HM | ASME B18.2.1, ASME B18.2.2 | — | 28 | EA | Less than 1" 15% | 3 | — | Includes 2 Washers & 2 Nuts
6 | 2 | Stud Bolts and Nuts | BOLT, STUD, ASME B18.2.1 AND ASME B18.2.2 ASTM A193 GR. B7M /ASTM A194 GR. 2HM (2WASHER & 2 NUTS) | 1/2" | 300# | ASTM A193 Gr. B7M / ASTM A194 Gr. 2HM | ASME B18.2.1, ASME B18.2.2 | — | 56 | EA | Less than 1" 15% | 6 | — | Includes 2 Washers & 2 Nuts
6 | 2 | Stud Bolts and Nuts | BOLT, STUD, ASME B18.2.1 AND ASME B18.2.2 ASTM A193 GR. B7M /ASTM A194 GR. 2HM (2WASHER & 2 NUTS) | 2" | 150# | ASTM A193 Gr. B7M / ASTM A194 Gr. 2HM | ASME B18.2.1, ASME B18.2.2 | — | 88 | EA | 1" to 1-7/8" 10% | 9 | — | Includes 2 Washers & 2 Nuts
6 | 2 | Stud Bolts and Nuts | BOLT, STUD, ASME B18.2.1 AND ASME B18.2.2 ASTM A193 GR. B7M /ASTM A194 GR. 2HM (2WASHER & 2 NUTS) | 1" | 150# | ASTM A193 Gr. B7M / ASTM A194 Gr. 2HM | ASME B18.2.1, ASME B18.2.2 | — | 92 | EA | 1" to 1-7/8" 10% | 9 | — | Includes 2 Washers & 2 Nuts
6 | 2 | Stud Bolts and Nuts | BOLT, STUD, ASME B18.2.1 AND ASME B18.2.2 ASTM A193 GR. B7M /ASTM A194 GR. 2HM (2WASHER & 2 NUTS) | 3/4" | 150# | ASTM A193 Gr. B7M / ASTM A194 Gr. 2HM | ASME B18.2.1, ASME B18.2.2 | — | 12 | EA | Less than 1" 15% | 2 | — | Includes 2 Washers & 2 Nuts
6 | 2 | Stud Bolts and Nuts | BOLT, STUD, ASME B18.2.1 AND ASME B18.2.2 ASTM A193 GR. B7M /ASTM A194 GR. 2HM (2WASHER & 2 NUTS) | 1/2" | 150# | ASTM A193 Gr. B7M / ASTM A194 Gr. 2HM | ASME B18.2.1, ASME B18.2.2 | — | 60 | EA | Less than 1" 15% | 9 | — | Includes 2 Washers & 2 Nuts

## Page 6 - Pipes
Page | Item_No | Category | Description | Size | Class | Material | Standard | Thickness | MTO_QTY | Unit | Procedure | Spare_QTY | Ref_Drawing | Remarks
6 | 3 | Pipe | A106 GR. B NACE MR0175/ISO15156, SEAMLESS, BE, ASME B36.10M | 20" | Sch. 40 | A106 Gr. B NACE MR0175/ISO15156 | ASME B36.10M | — | 6 | m | 8" and over 5% | 1 | — | Seamless, BE (Beveled End)
6 | 3 | Pipe | A106 GR. B NACE MR0175/ISO15156, SEAMLESS, BE, ASME B36.10M | 16" | Sch. 40 | A106 Gr. B NACE MR0175/ISO15156 | ASME B36.10M | — | 24 | m | 8" and over 5% | 2 | — | Seamless, BE (Beveled End)
6 | 3 | Pipe | A106 GR. B NACE MR0175/ISO15156, SEAMLESS, BE, ASME B36.10M | 8" | Sch. 40 | A106 Gr. B NACE MR0175/ISO15156 | ASME B36.10M | — | 2 | m | 8" and over 5% | 0.1 | — | Seamless, BE (Beveled End)
6 | 3 | Pipe | A106 GR. B NACE MR0175/ISO15156, SEAMLESS, BE, ASME B36.10M | 6" | Sch. 40 | A106 Gr. B NACE MR0175/ISO15156 | ASME B36.10M | — | 24 | m | 3" to 6" 10% | 2.5 | — | Seamless, BE (Beveled End)
6 | 3 | Pipe | PIPE, THREADED (ASME B1.20.1) & COUPLED, ASTM A53 GR. B GALV. ASTM A153, SEAMLESS, ASME B36.10M | 1" | Sch. 80 | A53 Gr. B Galvanized (ASTM A153) | ASME B36.10M, ASME B1.20.1 | — | 10 | m | 2" and below 15% | 1.5 | — | Threaded & Coupled, Galvanized
6 | 3 | Pipe | PIPE, THREADED (ASME B1.20.1) & COUPLED, ASTM A53 GR. B GALV. ASTM A153, SEAMLESS, ASME B36.10M | 1/2" | Sch. 80 | A53 Gr. B Galvanized (ASTM A153) | ASME B36.10M, ASME B1.20.1 | — | 2 | m | 2" and below 15% | 0.3 | — | Threaded & Coupled, Galvanized
6 | 3 | Pipe | PIPE, SCH 160, SMLS, A106B Gr. B NACE MR0175/ISO15156, PE, ASME B36.10M | 3/4" | Sch. 160 | A106 Gr. B NACE MR0175/ISO15156 | ASME B36.10M | — | 6 | m | 2" and below 15% | 1 | — | Seamless, PE (Plain End)
6 | 3 | Pipe | PIPE, SCH 80, SMLS, A106B, Gr. B, NACE MR0175/ISO15156, PE, ASME B36.10M | 1-1/2" | Sch. 80 | A106 Gr. B NACE MR0175/ISO15156 | ASME B36.10M | — | 16 | m | 2" and below 15% | 2.5 | — | Seamless, PE (Plain End)
6 | 3 | Pipe | PIPE, SCH 160, SMLS, A106B, Gr. B, NACE MR0175/ISO15156, PE, ASME B36.10M | 1/2" | Sch. 160 | A106 Gr. B NACE MR0175/ISO15156 | ASME B36.10M | — | 12 | m | 2" and below 15% | 2 | — | Seamless, PE (Plain End)
6 | 3 | Pipe | PIPE, SCH 80, SMLS, A106B, Gr. B, NACE MR0175/ISO15156, PE, ASME B36.10M | 3/4" | Sch. 80 | A106 Gr. B NACE MR0175/ISO15156 | ASME B36.10M | — | 6 | m | 2" and below 15% | 1 | — | Seamless, PE (Plain End)
6 | 3 | Pipe | PIPE, SCH 80, SMLS, A106B, Gr. B, NACE MR0175/ISO15156, PE, ASME B36.10M | 1" | Sch. 80 | A106 Gr. B NACE MR0175/ISO15156 | ASME B36.10M | — | 21 | m | 2" and below 15% | 4 | — | Seamless, PE (Plain End)
6 | 3 | Pipe | PIPE, SCH 40, SMLS, A106-B, Gr. B, NACE MR0175/ISO15156, BE, ASME B36.10M | 2" | Sch. 40 | A106 Gr. B NACE MR0175/ISO15156 | ASME B36.10M | — | 24 | m | 2" and below 15% | 4 | — | Seamless, BE (Beveled End)

## Page 7 - Flanges
Page | Item_No | Category | Description | Size | Class | Material | Standard | Thickness | MTO_QTY | Unit | Procedure | Spare_QTY | Ref_Drawing | Remarks
7 | 4 | Flange - WN | WN, RF, A105, NACE MR0175/ISO15156, FORGED, ASME B16.5 | 20" | 300#, Sch.40 | A105 NACE MR0175/ISO15156 | ASME B16.5 | — | 2 | EA | Flanged all size 5% | 1 | — | Welding Neck, Raised Face, Forged
7 | 4 | Flange - WN | WN, RF, A105, NACE MR0175/ISO15156, FORGED, ASME B16.5 | 16" | 300#, Sch.40 | A105 NACE MR0175/ISO15156 | ASME B16.5 | — | 12 | EA | Flanged all size 5% | 1 | — | Welding Neck, Raised Face, Forged
7 | 4 | Flange - WN | WN, RF, A105, NACE MR0175/ISO15156, FORGED, ASME B16.5 | 12" | 300#, Sch.40 | A105 NACE MR0175/ISO15156 | ASME B16.5 | — | 2 | EA | Flanged all size 5% | 1 | — | Welding Neck, Raised Face, Forged
7 | 4 | Flange - WN | WN, RF, A105, NACE MR0175/ISO15156, FORGED, ASME B16.5 | 8" | 300#, Sch.40 | A105 NACE MR0175/ISO15156 | ASME B16.5 | — | 4 | EA | Flanged all size 5% | 1 | — | Welding Neck, Raised Face, Forged
7 | 4 | Flange - WN | WN, RF, A105, NACE MR0175/ISO15156, FORGED, ASME B16.5 | 6" | 300#, Sch.40 | A105 NACE MR0175/ISO15156 | ASME B16.5 | — | 46 | EA | Flanged all size 5% | 2 | — | Welding Neck, Raised Face, Forged
7 | 4 | Flange - WN T&G | WN, RF, A105, NACE MR0175/ISO15156, FORGED, ASME B16.5, Tongue & Groove (PAIR) | 16" | 300#, Sch.40 | A105 NACE MR0175/ISO15156 | ASME B16.5 | — | 12 | EA | Flanged all size 5% | 1 | — | Tongue & Groove (Pair), Welding Neck, Forged
7 | 4 | Flange - SW | SW, RF, A105N, NACE MR0175/ISO15156, FORGED, ASME B16.5 | 1/2" | 300# | A105N NACE MR0175/ISO15156 | ASME B16.5 | — | 8 | EA | Flanged all size 5% | 1 | — | Socket Weld, Raised Face, Forged
7 | 4 | Flange - SW | SW, RF, A105N, NACE MR0175/ISO15156, FORGED, ASME B16.5 | 3/4" | 300# | A105N NACE MR0175/ISO15156 | ASME B16.5 | — | 6 | EA | Flanged all size 5% | 1 | — | Socket Weld, Raised Face, Forged
7 | 4 | Flange - SW | SW, RF, A105N, NACE MR0175/ISO15156, FORGED, ASME B16.5 | 1" | 300# | A105N NACE MR0175/ISO15156 | ASME B16.5 | — | 3 | EA | Flanged all size 5% | 1 | — | Socket Weld, Raised Face, Forged
7 | 4 | Flange - SW | SW, RF, A105N, NACE MR0175/ISO15156, FORGED, ASME B16.5 | 1-1/2" | 300# | A105N NACE MR0175/ISO15156 | ASME B16.5 | — | 14 | EA | Flanged all size 5% | 1 | — | Socket Weld, Raised Face, Forged
7 | 4 | Flange - WN BW | WN, RF, BW, A105N, NACE MR0175/ISO15156, FORGED, ASME B16.5 | 3" | 300#, Sch.80 | A105N NACE MR0175/ISO15156 | ASME B16.5 | — | 3 | EA | Flanged all size 5% | 1 | — | Welding Neck, Butt Weld, Raised Face, Forged
7 | 4 | Flange - SW | SW, RF, A105N, NACE MR0175/ISO15156, FORGED, ASME B16.5 | 1/2" | 150# | A105N NACE MR0175/ISO15156 | ASME B16.5 | — | 15 | EA | Flanged all size 5% | 1 | — | Socket Weld, Raised Face, Forged
7 | 4 | Flange - SW | SW, RF, A105N, NACE MR0175/ISO15156, FORGED, ASME B16.5 | 3/4" | 150# | A105N NACE MR0175/ISO15156 | ASME B16.5 | — | 3 | EA | Flanged all size 5% | 1 | — | Socket Weld, Raised Face, Forged
7 | 4 | Flange - SW | SW, RF, A105N, NACE MR0175/ISO15156, FORGED, ASME B16.5 | 1" | 150# | A105N NACE MR0175/ISO15156 | ASME B16.5 | — | 23 | EA | Flanged all size 5% | 1 | — | Socket Weld, Raised Face, Forged
7 | 4 | Flange - WN BW | WN, RF, BW, A105N, NACE MR0175/ISO15156, FORGED, ASME B16.5 | 2" | 150#, Sch.40 | A105N NACE MR0175/ISO15156 | ASME B16.5 | — | 22 | EA | Flanged all size 5% | 1 | — | Welding Neck, Butt Weld, Raised Face, Forged
7 | 4 | Flange - THRD | THRD. (ASME B1.20.1), RF, A105 GALV. (ASTM A153), FORGED, ASME B16.5 | 1" | 150# | A105 Galvanized (ASTM A153) | ASME B16.5, ASME B1.20.1 | — | 5 | EA | Flanged all size 5% | 1 | — | Threaded, Raised Face, Galvanized, Forged
7 | 4 | Flange - Blind | BLIND, RF, A105N, NACE MR0175/ISO15156, FORGED, ASME B16.5 | 1/2" | 300# | A105N NACE MR0175/ISO15156 | ASME B16.5 | — | 6 | EA | Flanged all size 5% | 1 | — | Blind Flange, Raised Face, Forged
7 | 4 | Flange - Blind | BLIND, RF, A105N, NACE MR0175/ISO15156, FORGED, ASME B16.5 | 1-1/2" | 300# | A105N NACE MR0175/ISO15156 | ASME B16.5 | — | 3 | EA | Flanged all size 5% | 1 | — | Blind Flange, Raised Face, Forged
7 | 4 | Flange - Blind | BLIND, RF, A105N, NACE MR0175/ISO15156, FORGED, ASME B16.5 | 3/4" | 300# | A105N NACE MR0175/ISO15156 | ASME B16.5 | — | 1 | EA | Flanged all size 5% | 1 | — | Blind Flange, Raised Face, Forged
7 | 4 | Flange - Blind | BLIND, RF, A105N, NACE MR0175/ISO15156, FORGED, ASME B16.5 | 3" | 300# | A105N NACE MR0175/ISO15156 | ASME B16.5 | — | 3 | EA | Flanged all size 5% | 1 | — | Blind Flange, Raised Face, Forged
7 | 4 | Flange - Blind | BLIND, RF, A105N, NACE MR0175/ISO15156, FORGED, ASME B16.5 | 16" | 300# | A105N NACE MR0175/ISO15156 | ASME B16.5 | — | 2 | EA | Flanged all size 5% | 1 | — | Blind Flange, Raised Face, Forged
7 | 4 | Flange - Blind | BLIND, RF, A105N, NACE MR0175/ISO15156, FORGED, ASME B16.5 | 20" | 300# | A105N NACE MR0175/ISO15156 | ASME B16.5 | — | 1 | EA | Flanged all size 5% | 1 | — | Blind Flange, Raised Face, Forged

## Page 7 - Fittings
Page | Item_No | Category | Description | Size | Class | Material | Standard | Thickness | MTO_QTY | Unit | Procedure | Spare_QTY | Ref_Drawing | Remarks
7 | 5 | Fittings - TEE Equal | Equal TEE, A234 WPB, NACE MR0175/ISO15156, SEAMLESS ASME B16.9, BE | 6"/6"/6" | Sch.40 | A234 WPB NACE MR0175/ISO15156 | ASME B16.9 | — | 8 | EA | 2-1/2" to 10" (5%) | 1 | — | Equal TEE, Seamless, BE (Beveled End)
7 | 5 | Fittings - TEE Reduce | Reduce TEE, A234 WPB, NACE MR0175/ISO15156, SEAMLESS ASME B16.9, BE | 6"/6"/3" | Sch.40 | A234 WPB NACE MR0175/ISO15156 | ASME B16.9 | — | 2 | EA | 2-1/2" to 10" (5%) | 1 | — | Reducing TEE, Seamless, BE (Beveled End)
7 | 5 | Fittings - TEE Equal SW | Equal TEE, 3000#, SW, A105N, NACE MR0175/ISO15156, FORGED, ASME B16.11 | 1"/1"/1/2" | — | A105N NACE MR0175/ISO15156 | ASME B16.11 | — | 2 | EA | Up to 2" (5%) | 1 | — | Equal TEE, 3000#, Socket Weld, Forged
7 | 5 | Fittings - TEE Equal THRD | Equal TEE, 3000#, THRD END(FEMALE) (ASME B1.20.1), A105 GALV. (ASTM A153), FORGED, ASME B16.11 | 1/2"/1/2"/1/2" | — | A105 Galvanized (ASTM A153) | ASME B16.11, ASME B1.20.1 | — | 1 | EA | Up to 2" (5%) | 1 | — | Equal TEE, 3000#, Threaded Female, Galvanized, Forged
7 | 5 | Fittings - TEE Reduce THRD | TEE REDUCE, 3000#, THRD END (FEMALE) (ASME B1.20.1), A105 GALV. (ASTM A153), FORGED, ASME B16.11 | 1"/1"/1/2" | — | A105 Galvanized (ASTM A153) | ASME B16.11, ASME B1.20.1 | — | 1 | EA | Up to 2" (5%) | 1 | — | Reducing TEE, 3000#, Threaded Female, Galvanized, Forged
7 | 5 | Fittings - TEE Reduce THRD | TEE REDUCE, 3000#, THRD END (FEMALE) (ASME B1.20.1), A105 GALV. (ASTM A153), FORGED, ASME B16.11 | 1"/1"/1" | — | A105 Galvanized (ASTM A153) | ASME B16.11, ASME B1.20.1 | — | 1 | EA | Up to 2" (5%) | 1 | — | Reducing TEE, 3000#, Threaded Female, Galvanized, Forged

## Page 7-8 - Valve MOV Parts
Page | Item_No | Category | Part_Type | Description | Size | Class | Material_Body | Material_Ball | Material_Seat | Material_Stem | Standard | MTO_QTY | Unit | Procedure | Spare_QTY | Ref_Drawing | Remarks
7-8 | 6 | Valve - Ball Valve MOV | Seat | BALL VALVE (MOV), FB, 6", 300#, RF, BODY: A216 WCB, BALL: AISI 410+ENP, SEAT: PEEK, STEM: UNS S20910, NACE MR0175/ISO15156, CAST, API 6D | 6" | 300#, RF | A216 WCB | AISI 410+ENP | PEEK | UNS S20910 | API 6D, NACE MR0175/ISO15156 | 1 set per item | SET | — | 1 | — | Motorized Ball Valve, Full Bore, Cast
7-8 | 6 | Valve - Ball Valve MOV | Stem | BALL VALVE (MOV), FB, 6", 300#, RF, BODY: A216 WCB, BALL: AISI 410+ENP, SEAT: PEEK, STEM: UNS S20910, NACE MR0175/ISO15156, CAST, API 6D | 6" | 300#, RF | A216 WCB | AISI 410+ENP | PEEK | UNS S20910 | API 6D, NACE MR0175/ISO15156 | 1 set per item | SET | — | 1 | — | Motorized Ball Valve, Full Bore, Cast
7-8 | 6 | Valve - Ball Valve MOV | Packing | BALL VALVE (MOV), FB, 6", 300#, RF, BODY: A216 WCB, BALL: AISI 410+ENP, SEAT: PEEK, STEM: UNS S20910, NACE MR0175/ISO15156, CAST, API 6D | 6" | 300#, RF | A216 WCB | AISI 410+ENP | PEEK | UNS S20910 | API 6D, NACE MR0175/ISO15156 | 1 set per item | SET | — | 1 | — | Motorized Ball Valve, Full Bore, Cast
7-8 | 6 | Valve - Ball Valve MOV | Gasket & O-Ring | BALL VALVE (MOV), FB, 6", 300#, RF, BODY: A216 WCB, BALL: AISI 410+ENP, SEAT: PEEK, STEM: UNS S20910, NACE MR0175/ISO15156, CAST, API 6D | 6" | 300#, RF | A216 WCB | AISI 410+ENP | PEEK | UNS S20910 | API 6D, NACE MR0175/ISO15156 | 1 set per item | SET | — | 1 | — | Motorized Ball Valve, Full Bore, Cast
7-8 | 6 | Valve - Ball Valve MOV | Seal | BALL VALVE (MOV), FB, 6", 300#, RF, BODY: A216 WCB, BALL: AISI 410+ENP, SEAT: PEEK, STEM: UNS S20910, NACE MR0175/ISO15156, CAST, API 6D | 6" | 300#, RF | A216 WCB | AISI 410+ENP | PEEK | UNS S20910 | API 6D, NACE MR0175/ISO15156 | 1 set per item | SET | — | 1 | — | Motorized Ball Valve, Full Bore, Cast

## Page 8 - Relief Valve
Page | Item_No | Category | Part_Type | Description | Size | Class | Material | Standard | Thickness | MTO_QTY | Unit | Procedure | Spare_QTY | Ref_Drawing | Remarks
8 | 7 | Relief Valve | Bellows | Relief Valve Spare Parts | — | — | — | — | — | 3 | EA | 25% (min 1) | 1 | — | For Relief Valve
8 | 7 | Relief Valve | Nozzle | Relief Valve Spare Parts | — | — | — | — | — | 3 | EA | 25% (min 1) | 1 | — | For Relief Valve
8 | 7 | Relief Valve | Disk and Disk Holder | Relief Valve Spare Parts | — | — | — | — | — | 3 | EA | 10% (min 1) | 1 | — | For Relief Valve
8 | 7 | Relief Valve | Diaphragm | Relief Valve Spare Parts | — | — | — | — | — | 3 | EA | 10% (min 1) | 1 | — | For Relief Valve
8 | 7 | Relief Valve | Gasket | Relief Valve Spare Parts | — | — | — | — | — | 3 | EA | 100% | 3 | — | For Relief Valve
8 | 7 | Relief Valve | Blow down Ring | Relief Valve Spare Parts | — | — | — | — | — | 3 | EA | 5% (min 1) | 1 | — | For Relief Valve
8 | 7 | Relief Valve | Adjustable Ring Screw / Lock Screw | Relief Valve Spare Parts | — | — | — | — | — | 3 | EA | 5% (min 1) | 1 | — | For Relief Valve