## Document Info
Document_No | SJEC-DPRFFM-ENIN-LISP-0001-V05
Title | Spare Parts List (Commissioning & Two-Years) - Fiscal Metering System
Project | Sepehr-Jufair Field Development And Production Operations
Contract_No | SJ-CN-SC-99-0060
PO_No | SJEC-DPRFFM-ENIN-ORPU-0001
Pages_Extracted | 8, 9, 10
Revision | V05
Status | NA (Not Approved)
Extraction_Date | 2025-10-03 20:34:41

## P8-Butterfly Valve Parts
Page | Table | Item_No | Category | Sub_Item | Description | Valve_Type | Valve_Size | Valve_Class | Valve_Connection | Material_Body | Material_Ball | Material_Seat | Material_Stem | Standard | MTO_QTY | Unit | Procedure | Spare_QTY | Remarks
8 | TABLE-1 | 6 | Valve Parts | Electronic board of Actuator | BUTTERFLY BALL VALVE, LUG TYPE - Electronic board of Actuator | Butterfly Ball Valve | 6" | 300# | Lug Type | — | — | — | — | — | 1 set per each item | SET | — | 1 | Electronic board for actuator
8 | TABLE-1 | 6 | Valve Parts | Seat | BUTTERFLY BALL VALVE, LUG TYPE - Seat | Butterfly Ball Valve | 6" | 300# | Lug Type | — | — | — | — | — | 1 set per each item | SET | — | 1 | Valve seat
8 | TABLE-1 | 6 | Valve Parts | Stem | BUTTERFLY BALL VALVE, LUG TYPE - Stem | Butterfly Ball Valve | 6" | 300# | Lug Type | — | — | — | — | — | 1 set per each item | SET | — | 1 | Valve stem
8 | TABLE-1 | 6 | Valve Parts | Packing | BUTTERFLY BALL VALVE, LUG TYPE - Packing | Butterfly Ball Valve | 6" | 300# | Lug Type | — | — | — | — | — | 1 set per each item | SET | — | 1 | Valve packing
8 | TABLE-1 | 6 | Valve Parts | Gasket & O-Ring | BUTTERFLY BALL VALVE, LUG TYPE - Gasket & O-Ring | Butterfly Ball Valve | 6" | 300# | Lug Type | — | — | — | — | — | 1 set per each item | SET | — | 1 | Gaskets and O-rings
8 | TABLE-1 | 6 | Valve Parts | Seal | BUTTERFLY BALL VALVE, LUG TYPE - Seal | Butterfly Ball Valve | 6" | 300# | Lug Type | — | — | — | — | — | 1 set per each item | SET | — | 1 | Valve seals
8 | TABLE-1 | 6 | Valve Parts | Air Filter Regulator | BUTTERFLY BALL VALVE, LUG TYPE - Air Filter Regulator | Butterfly Ball Valve | 6" | 300# | Lug Type | — | — | — | — | — | 1 set per each item | SET | — | 1 | Air filter regulator for pneumatic actuator
8 | TABLE-1 | 6 | Valve Parts | I/P Positioner | BUTTERFLY BALL VALVE, LUG TYPE - I/P Positioner | Butterfly Ball Valve | 6" | 300# | Lug Type | — | — | — | — | — | 1 set per each item | SET | — | 1 | Current to Pneumatic positioner

## P8-Manual Valves
Page | Table | Item_No | Category | Description | Valve_Type | Size | Class | Connection | Material_Body | Material_Ball | Material_Seat | Material_Stem | Standard | MTO_QTY | Unit | Procedure | Spare_QTY | Remarks
8 | TABLE-1 | 6 | Manual Valve | BALL VALVE, SW, WITH 2 NIPPLES, BODY: A105N, BALL: ASTM A182 F316, SEAT: PEEK, STEM: ASTM A276 Gr.316, NACE MR0175/ISO15156 | Ball Valve | 1/2" | 800# | SW (Socket Weld) | A105N | ASTM A182 F316 | PEEK | ASTM A276 Gr.316 | NACE MR0175/ISO15156 | 25 | EA | Valves 2" and below (Screwed & welded) 10% | 3 | With 2 nipples
8 | TABLE-1 | 6 | Manual Valve | BALL VALVE, SW, WITH 2 NIPPLES, BODY: A105N, BALL: ASTM A182 F316, SEAT: PEEK, STEM: ASTM A276 Gr.316, NACE MR0175/ISO15156 | Ball Valve | 3/4" | 800# | SW (Socket Weld) | A105N | ASTM A182 F316 | PEEK | ASTM A276 Gr.316 | NACE MR0175/ISO15156 | 12 | EA | Valves 2" and below (Screwed & welded) 10% | 1 | With 2 nipples
8 | TABLE-1 | 6 | Manual Valve | BALL VALVE, SW, WITH 2 NIPPLES, BODY: A105N, BALL: ASTM A182 F316, SEAT: PEEK, STEM: ASTM A276 Gr.316, NACE MR0175/ISO15156 | Ball Valve | 1" | 800# | SW (Socket Weld) | A105N | ASTM A182 F316 | PEEK | ASTM A276 Gr.316 | NACE MR0175/ISO15156 | 18 | EA | Valves 2" and below (Screwed & welded) 10% | 2 | With 2 nipples
8 | TABLE-1 | 6 | Manual Valve | BALL VALVE, SCREWED | Ball Valve | 1/2" | 800# | Screwed | — | — | — | — | — | 3 | EA | Valves 2" and below (Screwed & welded) 10% | 1 | Screwed connection
8 | TABLE-1 | 6 | Manual Valve | SWING CHECK VALVE | Swing Check Valve | 2" | 150# | — | — | — | — | — | — | 2 | EA | — | 1 | Swing type check valve
8 | TABLE-1 | 6 | Manual Valve | MANUAL BALL VALVE, FB | Manual Ball Valve | 1" | 300# | FB (Full Bore) | — | — | — | — | — | 2 | EA | Valves 2" and below flanged 2% | 1 | Full bore manual ball valve
8 | TABLE-1 | 6 | Manual Valve | MANUAL BALL VALVE, FB | Manual Ball Valve | 3/4" | 300# | FB (Full Bore) | — | — | — | — | — | 1 | EA | Valves 2" and below flanged 2% | 1 | Full bore manual ball valve
8 | TABLE-1 | 6 | Manual Valve | MANUAL BALL VALVE, FB | Manual Ball Valve | 2" | 300# | FB (Full Bore) | — | — | — | — | — | 4 | EA | Valves 2" and below flanged 2% | 1 | Full bore manual ball valve
8 | TABLE-1 | 6 | Manual Valve | MANUAL BALL VALVE, FB | Manual Ball Valve | 3" | 300# | FB (Full Bore) | — | — | — | — | — | 2 | EA | 3" to 10" 2% | 1 | Full bore manual ball valve

## P8-Control Panel
Page | Table | Item_No | Category | Sub_Item | Description | Model | Specification | MTO_QTY | Unit | Procedure | Total_QTY | Remarks
8 | TABLE-2 | 1 | CONTROL PANEL | Bulbs for signal lamps | Bulbs for signal lamps | — | — | — | — | 50% | — | Signal lamp bulbs replacement
8 | TABLE-2 | 2 | CONTROL PANEL | Fuse elements | Fuse elements | — | — | — | — | 50% | — | Fuse elements for protection
8 | TABLE-2 | 3 | CONTROL PANEL | Lamp Cover & Holder | Lamp Cover & Holder | — | — | — | — | 5% | — | Lamp covers and holders
8 | TABLE-2 | 4 | CONTROL PANEL | Push Button | Push Button | — | — | — | — | 5% | — | Control panel push buttons
8 | TABLE-2 | 5 | CONTROL PANEL | Relay | PLC-INTERFACE, consisting of basic terminal block PLC-BSC.../21 with screw connection and plug-in miniature relay with power contact, for assembly on DIN rail NS 35/7,5, 1 changeover contact, input voltage 24 V DC (PHOENIX) | PHOENIX | 24V DC, 1 changeover contact, DIN rail NS 35/7.5 | 18 | EA | 5% (Min one) | 1 | PLC interface relay with terminal block
8 | TABLE-2 | 6 | CONTROL PANEL | Barrier | 2-channel isolated barrier < 24 V DC supply (Power Rail) < Input 2-wire and 3-wire SMART transmitters and 2-wire SMART current sources < Output 0/4 mA ... 20 mA < Terminals with test points (GMI) | GMI | 2-channel, 24V DC supply, 0/4-20mA output, test points | 27 | EA | 5% (Min one) | 3 | 2-channel isolated safety barrier
8 | TABLE-2 | 7 | CONTROL PANEL | Circuit Breaker | Circuit breaker AC (1,2) pole | — | AC, 1 or 2 pole | 12 | EA | 5% (Min one) | 1 | AC circuit breakers 1 or 2 pole

## P9-Field Transmitters
Page | Table | Item_No | Category | Sub_Item | Description | Model | Specification | MTO_QTY | Unit | Procedure | Total_QTY | Remarks
9 | TABLE-2 | 1 | FIELD TRANSMITTER | Gasket and O-Ring | Temperature Transmitter Datasheet doc. no. (SJEC-DPRFFM-ENIN-DSEQ-0009) | — | As per datasheet SJEC-DPRFFM-ENIN-DSEQ-0009 | Lot | LOT | 15% (Each type and size) | 15% Lot | Temperature transmitter gaskets and O-rings
9 | TABLE-2 | 1 | FIELD TRANSMITTER | Gasket and O-Ring | Pressure Transmitter Datasheet doc no. (SJEC-DPRFFM-ENIN-DSEQ-0010) | — | As per datasheet SJEC-DPRFFM-ENIN-DSEQ-0010 | Lot | LOT | 15% (Each type and size) | 15% Lot | Pressure transmitter gaskets and O-rings
9 | TABLE-2 | 1 | FIELD TRANSMITTER | Gasket and O-Ring | Differential Pressure Transmitter Datasheet doc. no. (SJEC-DPRFFM-ENIN-DSEQ-0011) | — | As per datasheet SJEC-DPRFFM-ENIN-DSEQ-0011 | Lot | LOT | 15% (Each type and size) | 15% Lot | Differential pressure transmitter gaskets and O-rings
9 | TABLE-2 | 1 | FIELD TRANSMITTER | Gasket and O-Ring | Density meter Datasheet doc. no. (SJEC-DPRFFM-ENIN-DSEQ-0014) | — | As per datasheet SJEC-DPRFFM-ENIN-DSEQ-0014 | Lot | LOT | 15% (Each type and size) | 15% Lot | Density meter gaskets and O-rings

## P9-Field Instruments
Page | Table | Item_No | Category | Sub_Item | Description | Model | Specification | MTO_QTY | Unit | Procedure | Total_QTY | Remarks
9 | TABLE-2 | 1 | FIELD INSTRUMENTS | Instruments | Temperature gauges WIKA S5551 | WIKA S5551 | Temperature gauge | 7 | EA | 10% | 1 | WIKA temperature gauge model S5551
9 | TABLE-2 | 1 | FIELD INSTRUMENTS | Instruments | Pressure gauges - Range: 0 ~ 10 Barg Dial size: 160 mm Model: WIKA 233.30 | WIKA 233.30 | Range: 0-10 Barg, Dial: 160mm | 4 | EA | 10% | 1 | Pressure gauge 0-10 Barg, 160mm dial
9 | TABLE-2 | 1 | FIELD INSTRUMENTS | Instruments | Pressure gauges - Range: 0 ~ 25 Barg Dial size: 160 mm Model: WIKA 233.30 | WIKA 233.30 | Range: 0-25 Barg, Dial: 160mm | 8 | EA | 10% | 1 | Pressure gauge 0-25 Barg, 160mm dial
9 | TABLE-2 | 1 | FIELD INSTRUMENTS | Instruments | Pressure gauges - Range: 0 ~ 25 Barg Dial size: 63 mm Model: WIKA 233.30 | WIKA 233.30 | Range: 0-25 Barg, Dial: 63mm | 5 | EA | 10% | 1 | Pressure gauge 0-25 Barg, 63mm dial
9 | TABLE-2 | 1 | FIELD INSTRUMENTS | Instruments | Solenoid valves - 7541 REMOTE AIR PILOT OPERATED ALUMINUM (Model No. 73419AN2NNM0) | 73419AN2NNM0 | 7541 Remote air pilot operated aluminum | 1 | EA | 1 set each type | 1 | Remote air pilot operated solenoid valve
9 | TABLE-2 | 1 | FIELD INSTRUMENTS | Instruments | Solenoid valves - DIRECT SOLENOID ACTUATED POPPET VALVE (Order code: 2401147467202400) | 2401147467202400 | Direct solenoid actuated poppet valve | 1 | EA | 1 set each type | 1 | Direct solenoid actuated poppet valve
9 | TABLE-2 | 1 | FIELD INSTRUMENTS | Instruments | Valve positioner YTC 3300 SERIES | YTC 3300 SERIES | Valve positioner | 3 | EA | 1 set each type | 1 | YTC 3300 series valve positioner
9 | TABLE-2 | 2 | FIELD INSTRUMENTS | Junction box | Larger boxes | — | Larger size junction boxes | 3 | EA | min. 1 [Note 1] | 1 | Larger junction boxes - see Note 1

## P9-Cables
Page | Table | Item_No | Category | Sub_Item | Description | Model | Specification | MTO_QTY | Unit | Procedure | Total_QTY | Remarks
9 | TABLE-2 | 3 | Cable | Single pair | 2×2×1 Cu/ XLPE/ ISCR/ OSCR/ PVC/ SWA/ PVC | — | 2×2×1 Cu/XLPE/ISCR/OSCR/PVC/SWA/PVC | 90 | m | (Each type & size) 20% [Note 1] | 20% | Single pair cable 2×2×1
9 | TABLE-2 | 3 | Cable | Single pair | 1×2×1.5 Cu/ XLPE/ OSCR/ PVC/ SWA/ PVC | — | 1×2×1.5 Cu/XLPE/OSCR/PVC/SWA/PVC | 324 | m | (Each type & size) 20% [Note 1] | 20% | Single pair cable 1×2×1.5
9 | TABLE-2 | 3 | Cable | Multi pair | 28×2×1.5 Cu/ XLPE/ ISCR/ OSCR/ PVC/ SWA/ PVC | — | 28×2×1.5 Cu/XLPE/ISCR/OSCR/PVC/SWA/PVC | 300 | m | (Each type & size) 20% [Note 1] | 20% | Multi pair cable 28×2×1.5
9 | TABLE-2 | 3 | Cable | Multi pair | 16×2×1.5 Cu/ XLPE/ ISCR/ OSCR/ PVC/ SWA/ PVC | — | 16×2×1.5 Cu/XLPE/ISCR/OSCR/PVC/SWA/PVC | 300 | m | (Each type & size) 20% [Note 1] | 20% | Multi pair cable 16×2×1.5
9 | TABLE-2 | 3 | Cable | Multi pair | 1×3×1.5 Cu/XLPE/OSCR/PVC/SWA/PVC | — | 1×3×1.5 Cu/XLPE/OSCR/PVC/SWA/PVC | 72 | m | (Each type and size) 15% | 15% | Multi pair cable 1×3×1.5

## P9-Cable Glands
Page | Table | Item_No | Category | Sub_Item | Description | Model | Specification | MTO_QTY | Unit | Procedure | Total_QTY | Remarks
9 | TABLE-2 | 4 | Cable Gland | Cable Gland Exd IIC | Cable Gland Exd IIC M20 | M20 | Exd IIC rated, M20 thread | 122 | EA | (Each type and size) 20% | 24 | Explosion proof cable gland M20
9 | TABLE-2 | 4 | Cable Gland | Cable Gland Exd IIC | Cable Gland Exd IIC M32 | M32 | Exd IIC rated, M32 thread | 40 | EA | (Each type and size) 20% | 8 | Explosion proof cable gland M32
9 | TABLE-2 | 4 | Cable Gland | Cable Gland Exd IIC | Cable Gland Exd IIC M40 | M40 | Exd IIC rated, M40 thread | 8 | EA | (Each type and size) 20% | 2 | Explosion proof cable gland M40

## P9-Pipes & Tubes
Page | Table | Item_No | Category | Sub_Item | Description | Model | Specification | MTO_QTY | Unit | Procedure | Total_QTY | Remarks
9 | TABLE-2 | 5 | Pipe & Tube | Pipe & Tube | SST, Tube OD 1/4", Tube Wall 0.035" | — | Stainless Steel Tube, OD 1/4", Wall 0.035" | 3×6m | m | 10% | 2 | Stainless steel instrumentation tubing

## P9-Manifold Valves
Page | Table | Item_No | Category | Sub_Item | Description | Model | Specification | MTO_QTY | Unit | Procedure | Total_QTY | Remarks
9 | TABLE-2 | 6 | Manifold valves | Manifold valves | 2 Way Model no.: STM | STM | 2-way manifold valve | 19 | EA | 10% | 2 | 2-way manifold valve model STM
9 | TABLE-2 | 6 | Manifold valves | Manifold valves | 5 Way | — | 5-way manifold valve | 5 | EA | 10% | 1 | 5-way manifold valve

## P9-Cable Tray
Page | Table | Item_No | Category | Sub_Item | Description | Model | Specification | MTO_QTY | Unit | Procedure | Total_QTY | Remarks
9 | TABLE-2 | 7 | Cable tray | Cable tray | Cable tray & ladder and accessories / fitting (each size) | — | Cable tray, ladder and accessories | Lot | LOT | 20% | 20% Lot | Cable tray system and accessories

## P9-Other Items
Page | Table | Item_No | Category | Sub_Item | Description | Model | Specification | MTO_QTY | Unit | Procedure | Total_QTY | Remarks
9 | TABLE-2 | 1 | Other | Printer | Paper, Chart paper | — | Printer paper and chart paper | — | boxes | — | 4 | Printer and chart paper - 4 boxes
9 | TABLE-2 | 1 | Other | Printer | Printer Cartridge | — | Printer ink/toner cartridges | — | sets | — | 10 | Printer cartridges - 10 sets

## P9-Analyzers
Page | Table | Item_No | Category | Sub_Item | Description | Model | Specification | MTO_QTY | Unit | Procedure | Total_QTY | Remarks
9 | TABLE-2 | 1 | ANALYZERS | Analyzer | SIC Commissioning spare parts kit (Manufacturer Recommendation) | — | As per manufacturer recommendation | Lot | LOT | — | Lot | SIC analyzer commissioning spare parts kit
9 | TABLE-2 | 1 | ANALYZERS | Analyzer | RVP Commissioning spare parts kit (Manufacturer Recommendation) | — | As per manufacturer recommendation | Lot | LOT | — | Lot | RVP analyzer commissioning spare parts kit
9 | TABLE-2 | 1 | ANALYZERS | Analyzer | H2S Commissioning spare parts kit (Manufacturer Recommendation) | — | As per manufacturer recommendation | Lot | LOT | — | Lot | H2S analyzer commissioning spare parts kit
9 | TABLE-2 | 1 | ANALYZERS | Analyzer | H2S Calibration Gas 50 Liter | — | H2S calibration gas, 50 liter cylinder | 1 | cylinder | 1 cylinder | 1 | H2S calibration gas cylinder - 50 liter

## P10-Electrical
Page | Table | Item_No | Category | Sub_Item | Description | Model | Specification | MTO_QTY | Unit | Procedure | Total_QTY | Remarks
10 | TABLE-3 | 1 | LIGHTING FIXTURES | Fluorescent tubes | Fluorescent tubes 36W-G13-220VAC | 36W-G13-220VAC | 36W, G13 base, 220VAC | 8 | EA | 50% | 4 | Fluorescent tubes for lighting fixtures
10 | TABLE-3 | 2 | LIGHTING FIXTURES | Sockets | Ex plug and socket | — | Explosion proof plug and socket | 1 | EA | 10% | 1 | Explosion proof electrical socket

## P10-Paint
Page | Table | Item_No | Category | Sub_Item | Description | Model | Specification | MTO_QTY | Unit | Procedure | Total_QTY | Remarks
10 | TABLE-4 | 1 | Paint | Paint | Based on Metering System Surface Preparation & Painting Procedure doc. no. (SJEC-DPRFFM-ENIN-MACU-0001) | — | As per SJEC-DPRFFM-ENIN-MACU-0001 | Lot | LOT | 10% | 10% Lot | Paint as per surface preparation procedure

## P10-Special Equipment
Page | Table | Item_No | Category | Sub_Item | Description | Model | Specification | MTO_QTY | Unit | Procedure | Total_QTY | Remarks
10 | TABLE-5 | 1 | Filter | Filter | Based on Strainer Datasheet doc. no. (SJEC-DPRFFM-ENIN-DSEQ-0017) | — | As per datasheet SJEC-DPRFFM-ENIN-DSEQ-0017 | 2 | EA | 1 set each size/mat | 1 | Filter element for strainer
10 | TABLE-5 | 2 | Filter | Quick closure seal | Quick closure seal of (QOC) | — | Quick opening closure seal | — | EA | 1 set each size/mat | — | Quick opening closure seal

## P10-Special Tools
Page | Table | Item_No | Category | Sub_Item | Description | Model | Specification | MTO_QTY | Unit | Procedure | Total_QTY | Remarks
10 | TABLE-5 | 1 | Special Tools | Sphere prover and accessories | Sphere Inflation tools | — | Inflation tools for sphere | 1 | EA | 1 set each size/mat | 1 | Sphere inflation tools for prover
10 | TABLE-5 | 2 | Special Tools | Sphere prover and accessories | Sphere Sizing Ring | — | Sizing ring for sphere | 1 | EA | 1 set each size/mat | 1 | Sphere sizing ring
10 | TABLE-5 | 3 | Special Tools | Sphere prover and accessories | Sphere Picker | — | Picker tool for sphere | 1 | EA | 1 set each size/mat | 1 | Sphere picker tool
10 | TABLE-5 | 4 | Special Tools | Sphere prover and accessories | Sphere | — | Sphere for prover | 1 | EA | 1 set each size/mat | 1 | Spare sphere for prover

## P10-Rotating Equipment
Page | Table | Item_No | Category | Sub_Item | Description | Model | Specification | MTO_QTY | Unit | Procedure | Total_QTY | Remarks
10 | TABLE-6 | 1 | Pump | Gaskets | Based on Electro-Pump Datasheet doc. no. (SJEC-DPRFFM-ENIN-DSEQ-0020) and (Manufacturer Recommendation) | — | As per datasheet and manufacturer | 1 | EA | — | 1 | Pump gaskets as per datasheet
10 | TABLE-6 | 2 | Pump | Bolts & nuts | Based on Electro-Pump Datasheet doc. no. (SJEC-DPRFFM-ENIN-DSEQ-0020) and (Manufacturer Recommendation) | — | As per datasheet and manufacturer | Lot | LOT | 10% | 10% Lot | Pump bolts and nuts as per datasheet

## P10-HVAC
Page | Table | Item_No | Category | Sub_Item | Description | Model | Specification | MTO_QTY | Unit | Procedure | Total_QTY | Remarks
10 | TABLE-7 | 1 | FILTER | Filter element | Fresh air inlet | — | 300mm×300mm | — | EA | — | 2 | Fresh air inlet filter 300×300mm
10 | TABLE-7 | 2 | FILTER | Filter element | Return air inlet | — | 800mm×400mm | — | EA | — | 2 | Return air inlet filter 800×400mm
10 | TABLE-7 | 3 | FILTER | Filter element | Filter dryer | EK165S | Filter dryer EK165S | — | EA | — | 1 | Filter dryer model EK165S