## Document Info
Document_Number | Revision | Date | Title | Contract_No | PO_Number | Subject | Page | Status | Prepared_By | Checked_By | Approved_By | Project_Manager | Review_Code | Review_Date | Reviewed_By
SJEC-DGNRCD-ENEL-LISP-0001 | V00 | 17-Feb-24 | Spare Part List For Two Years for Permanent Cathodic Protection System | SJ-CN-SC-99-0060 | SJEC-DGNRCD-ENEL-ORPU-0001 | Cathodic Protection System | 3 of 3 | Issued for Comment | A.Heydari | E.Ghorbani | E.Ghorbani | E.Ghorbani | AC (Accepted) | Mar.16.2024 | A.Ebrahimpour

## Form Header
Form_Title_English | Form_Title_Persian | Subject | Manufacturer | Address | Consignee | Project_Plant | Engineered_By | Requisition_No | Required_On_Site_Date | Delivery_Time | Purchase_Order_No | Revision | Date | Total_Value_Sheet
SPARE PARTS LIST AND INTERCHANGEABILITY RECORD | فهرست قطعات یدکی و اقلام مشابه | Transformer Rectifier - ترانسفورمر رکتیفایر | - | - | - | Sepehr-Jufair Field Development and Production Operations | - | - | - | - | - | V00 | 17-Feb-24 | -

## Page 3 - Spare Parts List
Item_No | Equipment_Class | Equipment_Tag_or_Reg_No | Serial_Number_Reference | Manufacturers_Model | Number_of_Units | Total_No_of_Identical_Parts_Installed | Number_of_Parts_Per_Unit | Drawing_Ref_No | Manufacturers_Real_Part_No | Description_of_Parts | Material_See_Note_4 | Unit | Commissioning_Spares_Recommended_by_Manufacturer | Two_Years_Spare_Parts_Recommended_by_Manufacturer | Commissioning_Spares_Recommended_by_Contractor | Two_Years_Spare_Parts_Recommended_by_Contractor | Total_Quantity_to_be_Supplied | Approved_for_Purchase_By | MESC_NO | Classification_of_Parts | Unit_Price_Approximate | Total_Price_Approximate | Remarks
1 | Transformer Rectifier | 89002009 | - | - | 1 | 1 | 1 | - | - | Output Terminal | - | No. | 1 | 1 | 1 | 1 | 2 | - | - | - | - | - | SPARE PARTS FOR 2 YEARS OPERATION
2 | Transformer Rectifier | 89002010 | - | - | 1 | 1 | 1 | - | - | Input Terminal | - | No. | 1 | 1 | 1 | 1 | 2 | - | - | - | - | - | SPARE PARTS FOR 2 YEARS OPERATION
3 | Transformer Rectifier | 89002011 | - | - | 1 | 3 | 3 | - | - | Silicagel Breather | - | No. | 3 | 3 | 3 | 3 | 6 | - | - | - | - | - | SPARE PARTS FOR 2 YEARS OPERATION
4 | Transformer Rectifier | 89002012 | - | - | 1 | 1 | 1 | - | - | Surge Arrester(Output) | - | No. | 1 | 1 | 1 | 1 | 2 | - | - | - | - | - | SPARE PARTS FOR 2 YEARS OPERATION
5 | Transformer Rectifier | 89002013 | - | - | 1 | 1 | 1 | - | - | Surge Arrester(Input) | - | No. | 1 | 1 | 1 | 1 | 2 | - | - | - | - | - | SPARE PARTS FOR 2 YEARS OPERATION
6 | Transformer Rectifier | 89002014 | - | - | 1 | 4 | 4 | - | - | Controller Phase | - | No. | 4 | 4 | 4 | 4 | 8 | - | - | - | - | - | SPARE PARTS FOR 2 YEARS OPERATION
7 | Transformer Rectifier | 89002015 | - | - | 1 | 2 | 2 | - | - | 3 Phase Monitoring | - | No. | 2 | 2 | 2 | 2 | 4 | - | - | - | - | - | SPARE PARTS FOR 2 YEARS OPERATION
8 | Transformer Rectifier | 89002016 | - | - | 1 | 1 | 1 | - | - | Fuse Fast | - | No. | 1 | 1 | 1 | 1 | 2 | - | - | - | - | - | SPARE PARTS FOR 2 YEARS OPERATION

## Notes and Instructions
Note_1 | Note_2 | Note_3 | Note_4 | Reminder
All equipment having interchangeable items to be stated on same form. | Quote in column 10 part numbers showing interchangeability within equipment manufacturer's organization. | Quote in column 20 original identification numbers for items of third party manufacture ("bought-out items") such as ball bearings, mechanical seal, couplings, fuses, auxiliaries. | Quote in column 11 name and type of material, e.g. bronze, cast iron, Stainless steel 304, Rubber, etc. | ATTACH TO THIS FORM ALL PART LISTS AND DRAWINGS AS LISTED IN COLUMN 9 AND 10

## Summary Statistics
Total_Items | Total_Commissioning_Spares | Total_Two_Years_Spares | Total_Quantity_All_Spares | Equipment_Type | Number_of_Different_Parts
8 | 14 | 14 | 28 | Transformer Rectifier | 8

## Parts Breakdown
Part_Description | Total_Installed | Total_To_Supply | Number_of_Entries
3 Phase Monitoring | 2 | 4 | 1
Controller Phase | 4 | 8 | 1
Fuse Fast | 1 | 2 | 1
Input Terminal | 1 | 2 | 1
Output Terminal | 1 | 2 | 1
Silicagel Breather | 3 | 6 | 1
Surge Arrester(Input) | 1 | 2 | 1
Surge Arrester(Output) | 1 | 2 | 1