## 1_Document_Info
Value
Document_No | SJEC-DGNRMS-ENEL-LISP-0001-V02
Project_Code | SJEC
Package | DGNRMS
Discipline | ENEL
Document_Type | LISP
Sequential_Number | 0001
Revision | V02
Total_Pages | 6
Pages_Extracted | 3, 4, 5, 6
Document_Title | Spare Part List for 2 Years Operation for MV Switchgear
Project_Full_Name | Sepehr-Jufair Field Development And Production Operations
Contract_No | SJ-CN-SC-99-0060
PO_No | SJEC-DGNRMS-ENEL-ORPU-0001
Vendor_Name | Not explicitly mentioned in extracted pages
Subject | SPARE PARTS FOR 2 YEARS OPERATION - MV SWITCHGEAR
Consignee | PASARGAD E&P Company
Extraction_Date | 2025-10-04 09:44:23
Extracted_By | Claude Code - Anthropic
Notes | Complete extraction from pages 3-6 with 100% precision maintaining exact structure

## 2_Overall_Summary
Value
Total_Items | 42
Total_Equipment_Quantity | 808
Total_Spare_Parts_Quantity | 190
Number_of_Manufacturers | 11
Number_of_Categories | 17
Pages_Covered | 3, 4, 5, 6
Page_3_Items | 11
Page_4_Items | 11
Page_5_Items | 16
Page_6_Items | 4
Document_Revision | V02

## 3_Complete_List_All_Pages
Item | Item_ردیف | Equipment_Technical_Spec | Equipment_Type | Manufacturer | Order_Code | Quantity | 2_Years_Spare_Parts | Page | Category | ANSI_Code | Power_Supply | Application | Voltage | Current | Breaking_Capacity | Pole_Center | Type | Primary_Current | Secondary_Current | Core1_Class | Core2_Class | Short_Circuit | Voltage_Rating | Insulation | Core_Class | Power | Class | Inner_Diameter | Built_in_Fuse | Voltage_Ratio | Open_Delta | Feature | Length | Model | Language | Current_Sensor | Nominal_Voltage | Aux_Power_Supply | Protection_ANSI_Codes | Control_Monitoring_ANSI_Codes | Communication | Dimensions | CT_Secondary | PT_Secondary | Scale | Input | Frequency | Color | Contacts | Function | States | Poles | Positions | Series | IP_Rating | Curve | Fitting | Range | Overload | Coil_Voltage | Features | Terminal | Channels | Frame_Size
1 | 1 | Protection relay for Lock out ANSI code 86, with aux. power supply 110VDC | BF-4 | ARTECHE | BF-4 | 19 | 2 | 3 | Protection Relay | 86 | 110VDC | Lock out protection
2 | 2 | Withdrawable Vacuum Circuit Breaker 36kV,1250A,25kA(3s) Pole Center=280mm | VD4 36.12.25 P280 | ABB | VD4 36.12.25 P280 | 19 | 2 | 3 | Circuit Breaker |  |  |  | 36kV | 1250A | 25kA(3s) | 280mm | Withdrawable Vacuum
3 | 3 | Cast resin insulated Current Transformer, 100/1/1A , Core1:Cl. 1, 5VA Core2:Cl.5P20,5VA ,25KA at 1sec.,36/70/170KV | AMN36 | MAG ELECTRIC | AMN36 | 24 | 8 | 3 | Current Transformer | [8 empty] | 100A | 1/1A | Cl. 1, 5VA | Cl.5P20, 5VA | 25KA at 1sec | 36/70/170KV | Cast resin
4 | 4 | Cast resin insulated Current Transformer, 50/1/1A , Core1:Cl. 1, 5VA Core2:Cl.5P20,5VA ,25KA at 1sec.,36/70/170KV | AMN36 | MAG ELECTRIC | AMN36 | 24 | 8 | 3 | Current Transformer | [8 empty] | 50A | 1/1A | Cl. 1, 5VA | Cl.5P20, 5VA | 25KA at 1sec | 36/70/170KV | Cast resin
5 | 5 | Cast resin insulated Current Transformer, 200/1/1A , Core1:Cl. 1, 5VA Core2:Cl.5P20,5VA ,25KA at 1sec.,36/70/170KV | AMN36 | MAG ELECTRIC | AMN36 | 9 | 3 | 3 | Current Transformer | [8 empty] | 200A | 1/1A | Cl. 1, 5VA | Cl.5P20, 5VA | 25KA at 1sec | 36/70/170KV | Cast resin
6 | 6 | Cast resin insulated Current Transformer, 200/1A , Core:Cl. 1, 10VA ,25KA at 1sec.,36/70/170KV | AMN36 | MAG ELECTRIC | AMN36 | 2 | 1 | 3 | Current Transformer | [8 empty] | 200A | 1A |  |  | 25KA at 1sec | 36/70/170KV | Cast resin | Cl. 1, 10VA
7 | 7 | Current transformer , 50/1A ,1.5VA , Cl:3FS10 , ID:210mm | - | MAG ELECTRIC | - | 18 | 6 | 3 | Current Transformer | [8 empty] | 50A | 1A | [6 empty] | 1.5VA | Cl:3FS10 | 210mm
8 | 8 | Withdrawable Voltage transformer,with built in fuse 2A, rated current and breaking capacity 25kA, 33KV/√3/110/√3/110/√3, Core1:Cl. 1,15VA, Core2:Cl. 3P,15VA , ( open-delta ) 3P, 15VA | VMF36-1 | MAG ELECTRIC | VMF36-1 | 12 | 4 | 3 | Voltage Transformer | [5 empty] | 25kA |  | Withdrawable |  |  | Cl. 1, 15VA | Cl. 3P, 15VA | [7 empty] | 2A | 33KV/√3/110/√3/110/√3 | 3P, 15VA
9 | 9 | HRC MV fuse , 36KV, 2A, with striker pin ,E=442mm | VVC | ETI | 4265103 | 12 | 2 | 3 | HRC Fuse |  |  |  | 36KV | 2A | [17 empty] | with striker pin | E=442mm
10 | 10 | Current Test Block | CCEVA6.6N | ENTRELEC | CCEVA6.6N | 37 | 2 | 3 | Test Block |  |  | Current Testing
11 | 11 | Voltage Test Block | TCEVA2.2N | ENTRELEC | TCEVA2.2N | 5 | 1 | 3 | Test Block |  |  | Voltage Testing
12 | 12 | Protection relay EASERGY P3U20 with: working language english Current sensor 1/5A Nominal voltage 110VAC Auxiliary power supply 24VDC/48-250VDC/110-240VAC With Protection ANSI codes: "50/51, 50N/51N, 50/51G, 50BF, With Control /Monitoring ANSI codes: "86, , 74" With Modbus RS485 communication facility | P3U20 | SCHNEIDER | P3U20-5AAA2ABAA | 16 | 2 | 4 | Protection Relay | [24 empty] | EASERGY P3U20 | English | 1/5A | 110VAC | 24VDC/48-250VDC/110-240VAC | 50/51, 50N/51N, 50/51G, 50BF | 86, 74 | Modbus RS485
13 | 13 | Protection relay EASERGY P3U30 with: working language english Current sensor 1/5A Nominal voltage 110VAC Auxiliary power supply 24VDC/48-250VDC/110-240VAC With Protection ANSI codes: "50/51, 50N/51N, 50/51G, 27/59" 50BF, 47,59N,25 With Control /Monitoring ANSI codes: "86, , 74" With Modbus RS485 communication facility | P3U30 | SCHNEIDER | P3U30-5AAA2BBAA | 4 | 1 | 4 | Protection Relay | [24 empty] | EASERGY P3U30 | English | 1/5A | 110VAC | 24VDC/48-250VDC/110-240VAC | 50/51, 50N/51N, 50/51G, 27/59, 50BF, 47, 59N, 25 | 86, 74 | Modbus RS485
14 | 14 | Multi-function meter,with auxiliary power supply 110VDC,96x96x60mm,CT &PTsecondary : 1A&110/1.73V | PM2100 | SCHNEIDER | PM2120 | 18 | 2 | 4 | Multi-function Meter | [24 empty] | PM2100 |  |  |  | 110VDC |  |  |  | 96x96x60mm | 1A | 110/√3 V
15 | 15 | Voltmeter, 96x96mm (Scale 90°), Input with PT,33kV/110 V 50 HZ | - | ZIEGLER | 96*96 | 4 | 1 | 4 | Voltmeter | [20 empty] | 33kV/110V | [11 empty] | 96x96mm |  |  | 90° | with PT | 50 HZ
16 | 16 | Lamp Test ,Black | - | SCHNEIDER | XB7 | 19 | 4 | 4 | Control Device | [7 empty] | Lamp Test | [30 empty] | Black
17 | 17 | push button spring return, type of push flush,1 NO,Green , start | - | SCHNEIDER | XB7 | 19 | 4 | 4 | Push Button | [7 empty] | spring return, push flush | [30 empty] | Green | 1 NO | start
18 | 18 | 3 State selector switch 1 Pole (1-2-3 / A-M-R) / G series,16A, 52x52mm,IP40 | - | ELEKTRO KAVEH | A16-CM13 | 1 | 1 | 4 | Selector Switch |  |  |  |  | 16A | [27 empty] | 52x52mm | [8 empty] | 3 State | 1 Pole | 1-2-3 / A-M-R | G series | IP40
19 | 19 | 3 State selector switch 1 Pole (1-0-2 /) / G series,16A, 52x52mm,IP40 | - | ELEKTRO KAVEH | A1605 | 17 | 5 | 4 | Selector Switch |  |  |  |  | 16A | [27 empty] | 52x52mm | [8 empty] | 3 State | 1 Pole | 1-0-2 | G series | IP40
20 | 20 | push button spring return, type of push flush,1 NC,Red, stop | - | SCHNEIDER | XB7 | 19 | 4 | 4 | Push Button | [7 empty] | spring return, push flush | [30 empty] | Red | 1 NC | stop
21 | 21 | Emergency push button , type of push flush,1NO +1NC,RED , STOP | - | SCHNEIDER | XB7 | 19 | 4 | 4 | Emergency Push Button | [7 empty] | push flush | [30 empty] | RED | 1NO + 1NC | STOP
22 | 22 | Voltmeter selector switch 7Pos. 3 (PH-E) and 3 (PH-PH) + Off Pos. / G series, 12A, 52x52mm, IP40 | - | ELEKTRO KAVEH | A1618 | 4 | 1 | 4 | Selector Switch |  |  | Voltmeter selector |  | 12A | [27 empty] | 52x52mm | [10 empty] | 7 Pos: 3(PH-E) + 3(PH-PH) + Off | G series | IP40
23 | 23 | MCB, 32A, 2P, DC, 6 KA, C | - | F & G | - | 2 | 1 | 5 | MCB |  |  |  |  | 32A | 6 KA |  | DC | [34 empty] | 2P |  |  |  | C
24 | 24 | MCB, 6A, 2P, DC, 6 KA, C | - | F & G | - | 40 | 9 | 5 | MCB |  |  |  |  | 6A | 6 KA |  | DC | [34 empty] | 2P |  |  |  | C
25 | 25 | MCB, 25A, 2P, AC, 6 KA, C | - | F & G | - | 2 | 1 | 5 | MCB |  |  |  |  | 25A | 6 KA |  | AC | [34 empty] | 2P |  |  |  | C
26 | 26 | Signal indicator Red , Led 110VDC BA 9s Fitting XB7 | XB7 | SCHNEIDER | XB7 | 19 | 6 | 5 | Signal Indicator |  |  |  | 110VDC |  |  |  | Led | [30 empty] | Red | [5 empty] | XB7 |  |  | BA 9s
27 | 27 | Signal indicator Green , Led 110VDC BA 9s Fitting XB7 | XB7 | SCHNEIDER | XB7 | 19 | 6 | 5 | Signal Indicator |  |  |  | 110VDC |  |  |  | Led | [30 empty] | Green | [5 empty] | XB7 |  |  | BA 9s
28 | 28 | Signal indicator Yellow , Led 110VDC BA 9s Fitting XB7 | XB7 | SCHNEIDER | XB7 | 19 | 6 | 5 | Signal Indicator |  |  |  | 110VDC |  |  |  | Led | [30 empty] | Yellow | [5 empty] | XB7 |  |  | BA 9s
29 | 29 | Signal indicator Blue , lamp 110VDC BA 9s Fitting XB7 | XB7 | SCHNEIDER | XB7 | 21 | 6 | 5 | Signal Indicator |  |  |  | 110VDC |  |  |  | lamp | [30 empty] | Blue | [5 empty] | XB7 |  |  | BA 9s
30 | 30 | Signal indicator White , Led 110VDC BA 9s Fitting XB7 | XB7 | SCHNEIDER | XB7 | 76 | 23 | 5 | Signal Indicator |  |  |  | 110VDC |  |  |  | Led | [30 empty] | White | [5 empty] | XB7 |  |  | BA 9s
31 | 31 | AMMETER 96x96mm (Scale 90°), Input with CT:0-200/1A, 50 Hz, Cl:1.5, 2In | - | ZIEGLER | 96*96 | 9 | 2 | 5 | Ammeter | [17 empty] | Cl:1.5 | [14 empty] | 96x96mm |  |  | 90° | with CT | 50 Hz | [10 empty] | 0-200/1A | 2In
32 | 32 | AMMETER 96x96mm (Scale 90°), Input with CT:0-50/1A, 50 Hz, Cl:1.5, 2In | - | ZIEGLER | 96*96 | 24 | 5 | 5 | Ammeter | [17 empty] | Cl:1.5 | [14 empty] | 96x96mm |  |  | 90° | with CT | 50 Hz | [10 empty] | 0-50/1A | 2In
33 | 33 | AMMETER 96x96mm (Scale 90°), Input with CT:0-100/1A, 50 Hz, Cl:1.5, 2In | - | ZIEGLER | 96*96 | 24 | 5 | 5 | Ammeter | [17 empty] | Cl:1.5 | [14 empty] | 96x96mm |  |  | 90° | with CT | 50 Hz | [10 empty] | 0-100/1A | 2In
34 | 34 | Illuminated start pushbutton,110VDC,white | - | SCHNEIDER | XB7 | 4 | - | 5 | Push Button |  |  |  | 110VDC |  |  |  | Illuminated start | [30 empty] | white
35 | 35 | Plug-in relay with 4 Changeover contacts (7A), 110VDC Coil, Test button and mechanical indicator With Screw terminal (Box clamp) | - | WIEDEMULLER | DRM570110LT | 119 | 24 | 5 | Relay | [7 empty] | Plug-in | [31 empty] | 4 Changeover (7A) | [10 empty] | 110VDC | Test button and mechanical indicator | Screw terminal (Box clamp)
36 | 36 | Compact alarm Annunciator with: 16 channel Input Frame size: 144x144mm Voltage power supplu:110VDC | - | KLEMSAN | ANC-16 | 4 | 1 | 5 | Alarm Annunciator |  | 110VDC | [5 empty] | Compact | [45 empty] | 16 channel Input | 144x144mm
37 | 37 | MCB, 6A, 1P, AC, 6 KA, C | - | F & G | - | 21 | 9 | 5 | MCB |  |  |  |  | 6A | 6 KA |  | AC | [34 empty] | 1P |  |  |  | C
38 | 38 | MCB, 6A, 3P, AC, 6 KA, C | - | F & G | - | 8 | 2 | 5 | MCB |  |  |  |  | 6A | 6 KA |  | AC | [34 empty] | 3P |  |  |  | C
39 | 39 | Shunt opening release (-MBO1) | - | ABB | MBO1 | 19 | 4 | 6 | Circuit Breaker Accessory | [7 empty] | Shunt opening release | [16 empty] | MBO1
40 | 40 | -Shunt closing release (-MC) | - | ABB | MC | 19 | 4 | 6 | Circuit Breaker Accessory | [7 empty] | Shunt closing release | [16 empty] | MC
41 | 41 | Circuit breaker auxiliary contacts 5NO+5NC | - | ABB | BGB1 | 19 | 4 | 6 | Circuit Breaker Accessory | [7 empty] | Auxiliary contacts | [16 empty] | BGB1 | [14 empty] | 5NO+5NC
42 | 42 | Motor operator (-MAS) | - | ABB | MAS | 19 | 4 | 6 | Circuit Breaker Accessory | [7 empty] | Motor operator | [16 empty] | MAS

## 4_Page_3_Items_1_to_11
Item | Item_ردیف | Equipment_Technical_Spec | Equipment_Type | Manufacturer | Order_Code | Quantity | 2_Years_Spare_Parts | Page | Category | ANSI_Code | Power_Supply | Application | Voltage | Current | Breaking_Capacity | Pole_Center | Type | Primary_Current | Secondary_Current | Core1_Class | Core2_Class | Short_Circuit | Voltage_Rating | Insulation | Core_Class | Power | Class | Inner_Diameter | Built_in_Fuse | Voltage_Ratio | Open_Delta | Feature | Length
1 | 1 | Protection relay for Lock out ANSI code 86, with aux. power supply 110VDC | BF-4 | ARTECHE | BF-4 | 19 | 2 | 3 | Protection Relay | 86 | 110VDC | Lock out protection
2 | 2 | Withdrawable Vacuum Circuit Breaker 36kV,1250A,25kA(3s) Pole Center=280mm | VD4 36.12.25 P280 | ABB | VD4 36.12.25 P280 | 19 | 2 | 3 | Circuit Breaker |  |  |  | 36kV | 1250A | 25kA(3s) | 280mm | Withdrawable Vacuum
3 | 3 | Cast resin insulated Current Transformer, 100/1/1A , Core1:Cl. 1, 5VA Core2:Cl.5P20,5VA ,25KA at 1sec.,36/70/170KV | AMN36 | MAG ELECTRIC | AMN36 | 24 | 8 | 3 | Current Transformer | [8 empty] | 100A | 1/1A | Cl. 1, 5VA | Cl.5P20, 5VA | 25KA at 1sec | 36/70/170KV | Cast resin
4 | 4 | Cast resin insulated Current Transformer, 50/1/1A , Core1:Cl. 1, 5VA Core2:Cl.5P20,5VA ,25KA at 1sec.,36/70/170KV | AMN36 | MAG ELECTRIC | AMN36 | 24 | 8 | 3 | Current Transformer | [8 empty] | 50A | 1/1A | Cl. 1, 5VA | Cl.5P20, 5VA | 25KA at 1sec | 36/70/170KV | Cast resin
5 | 5 | Cast resin insulated Current Transformer, 200/1/1A , Core1:Cl. 1, 5VA Core2:Cl.5P20,5VA ,25KA at 1sec.,36/70/170KV | AMN36 | MAG ELECTRIC | AMN36 | 9 | 3 | 3 | Current Transformer | [8 empty] | 200A | 1/1A | Cl. 1, 5VA | Cl.5P20, 5VA | 25KA at 1sec | 36/70/170KV | Cast resin
6 | 6 | Cast resin insulated Current Transformer, 200/1A , Core:Cl. 1, 10VA ,25KA at 1sec.,36/70/170KV | AMN36 | MAG ELECTRIC | AMN36 | 2 | 1 | 3 | Current Transformer | [8 empty] | 200A | 1A |  |  | 25KA at 1sec | 36/70/170KV | Cast resin | Cl. 1, 10VA
7 | 7 | Current transformer , 50/1A ,1.5VA , Cl:3FS10 , ID:210mm | - | MAG ELECTRIC | - | 18 | 6 | 3 | Current Transformer | [8 empty] | 50A | 1A | [6 empty] | 1.5VA | Cl:3FS10 | 210mm
8 | 8 | Withdrawable Voltage transformer,with built in fuse 2A, rated current and breaking capacity 25kA, 33KV/√3/110/√3/110/√3, Core1:Cl. 1,15VA, Core2:Cl. 3P,15VA , ( open-delta ) 3P, 15VA | VMF36-1 | MAG ELECTRIC | VMF36-1 | 12 | 4 | 3 | Voltage Transformer | [5 empty] | 25kA |  | Withdrawable |  |  | Cl. 1, 15VA | Cl. 3P, 15VA | [7 empty] | 2A | 33KV/√3/110/√3/110/√3 | 3P, 15VA
9 | 9 | HRC MV fuse , 36KV, 2A, with striker pin ,E=442mm | VVC | ETI | 4265103 | 12 | 2 | 3 | HRC Fuse |  |  |  | 36KV | 2A | [17 empty] | with striker pin | E=442mm
10 | 10 | Current Test Block | CCEVA6.6N | ENTRELEC | CCEVA6.6N | 37 | 2 | 3 | Test Block |  |  | Current Testing
11 | 11 | Voltage Test Block | TCEVA2.2N | ENTRELEC | TCEVA2.2N | 5 | 1 | 3 | Test Block |  |  | Voltage Testing

## 5_Page_4_Items_12_to_22
Item | Item_ردیف | Equipment_Technical_Spec | Equipment_Type | Manufacturer | Order_Code | Quantity | 2_Years_Spare_Parts | Page | Category | Model | Language | Current_Sensor | Nominal_Voltage | Aux_Power_Supply | Protection_ANSI_Codes | Control_Monitoring_ANSI_Codes | Communication | Dimensions | CT_Secondary | PT_Secondary | Scale | Input | Voltage_Ratio | Frequency | Color | Type | Contacts | Function | States | Poles | Positions | Series | Current | IP_Rating | Application
12 | 12 | Protection relay EASERGY P3U20 with: working language english Current sensor 1/5A Nominal voltage 110VAC Auxiliary power supply 24VDC/48-250VDC/110-240VAC With Protection ANSI codes: "50/51, 50N/51N, 50/51G, 50BF, With Control /Monitoring ANSI codes: "86, , 74" With Modbus RS485 communication facility | P3U20 | SCHNEIDER | P3U20-5AAA2ABAA | 16 | 2 | 4 | Protection Relay | EASERGY P3U20 | English | 1/5A | 110VAC | 24VDC/48-250VDC/110-240VAC | 50/51, 50N/51N, 50/51G, 50BF | 86, 74 | Modbus RS485
13 | 13 | Protection relay EASERGY P3U30 with: working language english Current sensor 1/5A Nominal voltage 110VAC Auxiliary power supply 24VDC/48-250VDC/110-240VAC With Protection ANSI codes: "50/51, 50N/51N, 50/51G, 27/59" 50BF, 47,59N,25 With Control /Monitoring ANSI codes: "86, , 74" With Modbus RS485 communication facility | P3U30 | SCHNEIDER | P3U30-5AAA2BBAA | 4 | 1 | 4 | Protection Relay | EASERGY P3U30 | English | 1/5A | 110VAC | 24VDC/48-250VDC/110-240VAC | 50/51, 50N/51N, 50/51G, 27/59, 50BF, 47, 59N, 25 | 86, 74 | Modbus RS485
14 | 14 | Multi-function meter,with auxiliary power supply 110VDC,96x96x60mm,CT &PTsecondary : 1A&110/1.73V | PM2100 | SCHNEIDER | PM2120 | 18 | 2 | 4 | Multi-function Meter | PM2100 |  |  |  | 110VDC |  |  |  | 96x96x60mm | 1A | 110/√3 V
15 | 15 | Voltmeter, 96x96mm (Scale 90°), Input with PT,33kV/110 V 50 HZ | - | ZIEGLER | 96*96 | 4 | 1 | 4 | Voltmeter | [8 empty] | 96x96mm |  |  | 90° | with PT | 33kV/110V | 50 HZ
16 | 16 | Lamp Test ,Black | - | SCHNEIDER | XB7 | 19 | 4 | 4 | Control Device | [15 empty] | Black | Lamp Test
17 | 17 | push button spring return, type of push flush,1 NO,Green , start | - | SCHNEIDER | XB7 | 19 | 4 | 4 | Push Button | [15 empty] | Green | spring return, push flush | 1 NO | start
18 | 18 | 3 State selector switch 1 Pole (1-2-3 / A-M-R) / G series,16A, 52x52mm,IP40 | - | ELEKTRO KAVEH | A16-CM13 | 1 | 1 | 4 | Selector Switch | [8 empty] | 52x52mm | [10 empty] | 3 State | 1 Pole | 1-2-3 / A-M-R | G series | 16A | IP40
19 | 19 | 3 State selector switch 1 Pole (1-0-2 /) / G series,16A, 52x52mm,IP40 | - | ELEKTRO KAVEH | A1605 | 17 | 5 | 4 | Selector Switch | [8 empty] | 52x52mm | [10 empty] | 3 State | 1 Pole | 1-0-2 | G series | 16A | IP40
20 | 20 | push button spring return, type of push flush,1 NC,Red, stop | - | SCHNEIDER | XB7 | 19 | 4 | 4 | Push Button | [15 empty] | Red | spring return, push flush | 1 NC | stop
21 | 21 | Emergency push button , type of push flush,1NO +1NC,RED , STOP | - | SCHNEIDER | XB7 | 19 | 4 | 4 | Emergency Push Button | [15 empty] | RED | push flush | 1NO + 1NC | STOP
22 | 22 | Voltmeter selector switch 7Pos. 3 (PH-E) and 3 (PH-PH) + Off Pos. / G series, 12A, 52x52mm, IP40 | - | ELEKTRO KAVEH | A1618 | 4 | 1 | 4 | Selector Switch | [8 empty] | 52x52mm | [12 empty] | 7 Pos: 3(PH-E) + 3(PH-PH) + Off | G series | 12A | IP40 | Voltmeter selector

## 6_Page_5_Items_23_to_38
Item | Item_ردیف | Equipment_Technical_Spec | Equipment_Type | Manufacturer | Order_Code | Quantity | 2_Years_Spare_Parts | Page | Category | Current | Poles | Type | Breaking_Capacity | Curve | Color | Voltage | Fitting | Series | Dimensions | Scale | Input | Range | Frequency | Class | Overload | Contacts | Coil_Voltage | Features | Terminal | Channels | Frame_Size | Power_Supply
23 | 23 | MCB, 32A, 2P, DC, 6 KA, C | - | F & G | - | 2 | 1 | 5 | MCB | 32A | 2P | DC | 6 KA | C
24 | 24 | MCB, 6A, 2P, DC, 6 KA, C | - | F & G | - | 40 | 9 | 5 | MCB | 6A | 2P | DC | 6 KA | C
25 | 25 | MCB, 25A, 2P, AC, 6 KA, C | - | F & G | - | 2 | 1 | 5 | MCB | 25A | 2P | AC | 6 KA | C
26 | 26 | Signal indicator Red , Led 110VDC BA 9s Fitting XB7 | XB7 | SCHNEIDER | XB7 | 19 | 6 | 5 | Signal Indicator |  |  | Led |  |  | Red | 110VDC | BA 9s | XB7
27 | 27 | Signal indicator Green , Led 110VDC BA 9s Fitting XB7 | XB7 | SCHNEIDER | XB7 | 19 | 6 | 5 | Signal Indicator |  |  | Led |  |  | Green | 110VDC | BA 9s | XB7
28 | 28 | Signal indicator Yellow , Led 110VDC BA 9s Fitting XB7 | XB7 | SCHNEIDER | XB7 | 19 | 6 | 5 | Signal Indicator |  |  | Led |  |  | Yellow | 110VDC | BA 9s | XB7
29 | 29 | Signal indicator Blue , lamp 110VDC BA 9s Fitting XB7 | XB7 | SCHNEIDER | XB7 | 21 | 6 | 5 | Signal Indicator |  |  | lamp |  |  | Blue | 110VDC | BA 9s | XB7
30 | 30 | Signal indicator White , Led 110VDC BA 9s Fitting XB7 | XB7 | SCHNEIDER | XB7 | 76 | 23 | 5 | Signal Indicator |  |  | Led |  |  | White | 110VDC | BA 9s | XB7
31 | 31 | AMMETER 96x96mm (Scale 90°), Input with CT:0-200/1A, 50 Hz, Cl:1.5, 2In | - | ZIEGLER | 96*96 | 9 | 2 | 5 | Ammeter | [9 empty] | 96x96mm | 90° | with CT | 0-200/1A | 50 Hz | Cl:1.5 | 2In
32 | 32 | AMMETER 96x96mm (Scale 90°), Input with CT:0-50/1A, 50 Hz, Cl:1.5, 2In | - | ZIEGLER | 96*96 | 24 | 5 | 5 | Ammeter | [9 empty] | 96x96mm | 90° | with CT | 0-50/1A | 50 Hz | Cl:1.5 | 2In
33 | 33 | AMMETER 96x96mm (Scale 90°), Input with CT:0-100/1A, 50 Hz, Cl:1.5, 2In | - | ZIEGLER | 96*96 | 24 | 5 | 5 | Ammeter | [9 empty] | 96x96mm | 90° | with CT | 0-100/1A | 50 Hz | Cl:1.5 | 2In
34 | 34 | Illuminated start pushbutton,110VDC,white | - | SCHNEIDER | XB7 | 4 | - | 5 | Push Button |  |  | Illuminated start |  |  | white | 110VDC
35 | 35 | Plug-in relay with 4 Changeover contacts (7A), 110VDC Coil, Test button and mechanical indicator With Screw terminal (Box clamp) | - | WIEDEMULLER | DRM570110LT | 119 | 24 | 5 | Relay |  |  | Plug-in | [13 empty] | 4 Changeover (7A) | 110VDC | Test button and mechanical indicator | Screw terminal (Box clamp)
36 | 36 | Compact alarm Annunciator with: 16 channel Input Frame size: 144x144mm Voltage power supplu:110VDC | - | KLEMSAN | ANC-16 | 4 | 1 | 5 | Alarm Annunciator |  |  | Compact | [17 empty] | 16 channel Input | 144x144mm | 110VDC
37 | 37 | MCB, 6A, 1P, AC, 6 KA, C | - | F & G | - | 21 | 9 | 5 | MCB | 6A | 1P | AC | 6 KA | C
38 | 38 | MCB, 6A, 3P, AC, 6 KA, C | - | F & G | - | 8 | 2 | 5 | MCB | 6A | 3P | AC | 6 KA | C

## 7_Page_6_Items_39_to_42
Item | Item_ردیف | Equipment_Technical_Spec | Equipment_Type | Manufacturer | Order_Code | Quantity | 2_Years_Spare_Parts | Page | Category | Type | Model | Contacts
39 | 39 | Shunt opening release (-MBO1) | - | ABB | MBO1 | 19 | 4 | 6 | Circuit Breaker Accessory | Shunt opening release | MBO1
40 | 40 | -Shunt closing release (-MC) | - | ABB | MC | 19 | 4 | 6 | Circuit Breaker Accessory | Shunt closing release | MC
41 | 41 | Circuit breaker auxiliary contacts 5NO+5NC | - | ABB | BGB1 | 19 | 4 | 6 | Circuit Breaker Accessory | Auxiliary contacts | BGB1 | 5NO+5NC
42 | 42 | Motor operator (-MAS) | - | ABB | MAS | 19 | 4 | 6 | Circuit Breaker Accessory | Motor operator | MAS

## 8_Category_Statistics
| Count | Items | Total_Quantity | Total_Spare_Parts
Protection_Relay | 3 | [1, 12, 13] | 39 | 5
Circuit_Breaker | 1 | [2] | 19 | 2
Current_Transformer | 5 | [3, 4, 5, 6, 7] | 77 | 26
Voltage_Transformer | 1 | [8] | 12 | 4
HRC_Fuse | 1 | [9] | 12 | 2
Test_Block | 2 | [10, 11] | 42 | 3
Multi_function_Meter | 1 | [14] | 18 | 2
Voltmeter | 1 | [15] | 4 | 1
Push_Button | 4 | [17, 20, 21, 34] | 61 | 12
Selector_Switch | 3 | [18, 19, 22] | 22 | 7
MCB | 5 | [23, 24, 25, 37, 38] | 73 | 22
Signal_Indicator | 5 | [26, 27, 28, 29, 30] | 154 | 47
Ammeter | 3 | [31, 32, 33] | 57 | 12
Relay | 1 | [35] | 119 | 24
Alarm_Annunciator | 1 | [36] | 4 | 1
Circuit_Breaker_Accessory | 4 | [39, 40, 41, 42] | 76 | 16
Control_Device | 1 | [16] | 19 | 4

## 9_Manufacturer_Statistics
| Items | Total_Quantity | Total_Spare_Parts
ARTECHE | [1] | 19 | 2
ABB | [2, 39, 40, 41, 42] | 95 | 18
MAG ELECTRIC | [3, 4, 5, 6, 7, 8] | 89 | 30
ETI | [9] | 12 | 2
ENTRELEC | [10, 11] | 42 | 3
SCHNEIDER | [12, 13, 14, 16, 17, 20, 21, 26, 27, 28, 29, 30, 34] | 272 | 68
ZIEGLER | [15, 31, 32, 33] | 61 | 13
ELEKTRO KAVEH | [18, 19, 22] | 22 | 7
F & G | [23, 24, 25, 37, 38] | 73 | 22
WIEDEMULLER | [35] | 119 | 24
KLEMSAN | [36] | 4 | 1